## DOCO 01.01.2015 to 31.12.2015
Details of ISTS commissioned and under commercial operation (DOCO) during 01.01.2015 to 31.12.2015
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | D.O.C.O
1 | PGCIL | Deemed Licensee | 400/220 kV, 1*500 MVA ICT - III along with associated Bay at 400kV Boisar Substation under Transmission sysytem strengthening in western part of WR for IPP Generation Projects in Chhattisgarh | 2015-01-02
2 | PGCIL | Deemed Licensee | 400 KV Line Bays I & II ( 404 & 405) for 400KV D/C (Quard) Bassi-Jaipur (Phagi -RVPNL) line at 765/400KV Jaipur (Phagi- RVPNL) Substation under Rihand-III-Vindhyachal-IV Transmission System. | 2015-01-04
3 | PGCIL | Deemed Licensee | -LILO of One Circuit of Tuticorin JV – Madurai 400kV D/C (Quad) line at Tuticorin Pooling Station along with new 765kV Pooling Station at Tuticorin (initially charged at 400kV) -1 x 80 MVAR, 400kV Bus Reactor under Transmission System associated with Common System Associated with Coastal Energen Private Limited & Ind-Bharat Power (Madras) Limited LTOA Generation Projects in Tuticorin Area – PART-A | 2015-01-04
4 | PGCIL | Deemed Licensee | 400 kV, 1*80 MVAR(3 Ph) Line Reactor as Bus Reactor along with associated bay at 400 kV Boisar Substation (for 400 kV D/C (Quad) Aurangabad-Boisar ckt-II line as contingency arrangement) under Transmission system strengthening in Western part of WR for IPP Generation projects in Chhattisgarh. | 2015-01-07
5 | PGCIL | Deemed Licensee | 765kV Gaya - Balia line along-with associated bays under Common scheme for 765 kV pooling stations and network for NR, import by NR from ER and from NER/SR/WR via ER and Common scheme for network for WR and import by WR from ER and from NER/SR/WR via ER in Eastern Region | 2015-01-08
6 | PGCIL | Deemed Licensee | 3X80 MVAR line reactor of 765kV S/C Gaya- Balia line along-with associated bay at Gaya Substation under Transmission System for Phase-I Generation Projects in Jharkhand & West Bangal Part-A2 | 2015-01-08
7 | PGCIL | Deemed Licensee | LILO of 2nd Circuit of Tuticorin JV – Madurai 400kV D/C (Quad) line at Tuticorin Pooling Station along with associated bays and equipment under Transmission System associated with Common System Associated with Coastal Energen Private Limited & Ind-Bharat Power (Madras) Limited LTOA Generation Projects in Tuticorin Area – PART-A | 2015-01-08
8 | PGCIL | Deemed Licensee | 400 kV D/C Bachau (PG) - Versana (GETCO) alongwith associated bays under Western Region System Strengthening Scheme-XIII | 2015-01-08
9 | PGCIL | Deemed Licensee | 400 kV, 125 MVAR Bus Reactor along with associated bay at Parli Substation under Installation of Reactors (Part II) in WR | 2015-01-10
10 | PGCIL | Deemed Licensee | 400kV, 1*80 MVAR Bus Reactor along with associated bays at 400/220kV GIS Magarwada (new) SS under establishment of 400/220 kV GIS at Magarwada in UT of DD | 2015-01-11
11 | PGCIL | Deemed Licensee | 400 kV, 1*80 MVAR(3 Ph) Line Reactor as Bus Reactor along with associated bay at 400 kV Boisar Substation (for 400 kV D/C (Quad) Aurangabad-Boisar ckt-I line as contingency arrangement) under Transmission system strengthening in Western part of WR for IPP Generation projects in Chhattisgarh. | 2015-01-11
12 | PGCIL | Deemed Licensee | 400/220 kV, 105 MVA Spare ICT for 400/220 kV 315 (3x105) MVA ICT Bank-IV at Wagoora Sub-station under Augmentation of Transformers in Northern Region Part A (ATNR). | 2015-01-14
13 | PGCIL | Deemed Licensee | 3x80 MVAR Line Reactor along with Line Bay (under interim contingency) as Bus Reactor at Satna S/S (for 765 KV S/C Vindhyachal Pooling Station- Satna Ckt-2 Transmission Line under Transmission system of Vindhyachal - IV (1000 MW) and Rihand-III (1000MW) Generation Projects | 2015-01-14
14 | PGCIL | Deemed Licensee | 220 kV HVPNL-3 bay (Bay no. 208) and 220 kV HVPNL-4 Bay (Bay No. 209) at GIS Gurgaon (POWERGRID) under Northern Region Transmission system Strengthening Scheme (NRTSS) | 2015-01-16
15 | PGCIL | Deemed Licensee | 400/220kV 315 MVA ICT I along-with associated bays at Chaibasa Substation under Eastern Region System Strengthening III | 2015-01-22
16 | PGCIL | Deemed Licensee | 01 no 1X500 MVA ICT at 400/220kV Subhasgram S/S along-with the associated bays and 2 nos of 220kV equipped line bays at 400kV Subhasgram S/S under Eastern Region System Strengthening VIII | 2015-01-29
17 | PGCIL | Deemed Licensee | 1 no 125 MVAR Bus Reactor at Rourkela Sub-station along-with 400kV bay no 425 under Transmission system ERSS-VIII in Eastern Region | 2015-02-02
18 | PGCIL | Deemed Licensee | 400 kV 125 MVAR bus reactor of POWERGRID at Ratangarh Sub station of RRVPNL under System Strengthening for Sasan and Mundra UMPP | 2015-02-03
19 | PGCIL | Deemed Licensee | One Ckt of 400 kV D/C Sikar-Ratangarh Transmission Line under System Strengthening for Sasan and Mundra UMPP | 2015-02-03
20 | PGCIL | Deemed Licensee | Second Ckt of 400 kV D/C Sikar-Ratangarh Transmission Line under System Strengthening for Sasan and Mundra UMPP | 2015-02-11
21 | PGCIL | Deemed Licensee | • 400 kV Navsari – Magarwada Ckt. 2 - Part • 400 kV Magarwada – Kala Ckt. 2 • 400 kV Vapi - Kala Ckt. 2 - Part under WRSS V, MUNDRA, ESTABLISHMENT OF 400/220 kV GIS S/S AT KALA IN UT DNH & ESTABLISHMENT OF 400/220 kV GIS S/S AT MAGARWADA IN UT DD | 2015-03-01
22 | PGCIL | Deemed Licensee | LILO of 2nd circuit of 220 kV Jalandhar-Hamipur transmission line under Strengthening scheme in Northern Region. | 2015-03-02
23 | PGCIL | Deemed Licensee | 1 no 400kV 125 MVAR Bus Reactor along-with associated bay at 400/220kV Muzaffarpur Sub-station under Eastern Region System Strengthening VIII | 2015-03-05
24 | PGCIL | Deemed Licensee | -Solapur-Pune (GIS) 765 kV S/C Line along with associated bays and 240 MVAR Switchable Line Reactor at Pune (GIS) (new) - LILO of Parli-Pune 400 kV D/C Line along with associated bays and 2x50 MVAR line reactors at Pune GIS (new) -New 765/400 kV GIS Sub-station (new) at Pune. -765/400 kV, 1500 MVA ICT#1 at Pune (GIS) (new). -765/400 kV, 1500 MVA ICT#2 at Pune (GIS) (new). - 765 kV, 240 MVAR Bus Reactor at Pune (GIS) (new) under Transmission System Associated with Krishnapatnam UMPP-Part B | 2015-03-06
25 | PGCIL | Deemed Licensee | 2 No. 400kV, 63 MVAR Reactors at Nellore (AP) along with associated bays and equipment under Transmission system associated with System Strengthening-XVIII in Southern Region | 2015-03-16
26 | PGCIL | Deemed Licensee | Installation of 1x315 MVA, 400/220kV ICT-III at Bhadrawati HVDC Back to Back Station under Installation of Transformer and Procurement of Spare Converter Transformer for Bhadrawati HVDC BTB Station. | 2015-03-19
27 | PGCIL | Deemed Licensee | Upgradation of 400 kV Sub-station at Thiruvalam to 765 kV (GIS) with 2x1500 MVA, 765/400 kV transformers under System Strengthening -XIX in Southern Regional Grid. | 2015-03-21
28 | PGCIL | Deemed Licensee | 2 nos 220 kV line bays at 400/220 kV Pirana substation (for 220 kV Barajadi ckt#1 & 2 Transmission line of GETCO) under Augmentation of Transformer and bays in Western Region | 2015-03-21
29 | PGCIL | Deemed Licensee | 400kV D/C Silchar – Imphal Transmission Line (charged at 132 kV) along with associated bays at Silchar SS and Imphal SS of Transmission System associated with Palatana GBPP and Bongaigaon TPS | 2015-03-22
30 | PGCIL | Deemed Licensee | 1 no 400kV 125 MVAR Bus Reactor at 400kV Biharsharif Sub-station under Augmentation of Transformation Capacity in Northern and Eastern Region | 2015-03-30
31 | PGCIL | Deemed Licensee | 1. 400 kV Neyveli TS-II -400 kV Neyveli TS-I Expn. 2. Tuticorin Pooling Station-Madurai S/s 3. Madurai Sub LDC (TNEB) - Madurai 230 kV (TNEB) - Madurai (PG) 4. 400 kV Pugalur (PG)-Trichy(TNEB)-Trichy(PG) 5. 230 kV Tanjore (TNEB)-400 kV Trichy(TNEB) 6. 230 kV Thiruvarur(TNEB)-230 kV Tanjore (TNEB) 7. 400 kV Hassan (PG) -Neelmangla (KPTCL) 8. 400 kV Narendra-Davengere 9. Kolar - Thiruvalam 10. Madurai-Trichy 11. Madurai-Tirunalveli 12. Tirunalveli-Trivandrum 13. Sriperambadur-Kalivinapattu 14. Udumalpet-Arasur 15. Salem-Udumalpet 16. Nagapattinam-Trichy 17. Nagapattinam-Neyveli TS-I Exp. under Establishment of Fibre Optic Communication System for Central Sector Stations project of Southern Region. | 2015-03-30
32 | PGCIL | Deemed Licensee | 1 No. 400 kV 125 MVAR Bus Reactor I (Replacing existing 63 MVAR Bus Reactor) at 400/220 kV Muzaffarpur Substation under Eastern Region System Strengthening VIII (ERSS VIII) | 2015-04-01
33 | PGCIL | Deemed Licensee | -765 kV S/C Angul-Sundargarh Line-II along with 1 no. 765 kV Bay(706 R) at Angul P/S and Line Equipment (*Line Reactor 3x80 MVAR Commissioned as Bus Reactor, DOCO-0.1.11.2014, at Sundargarh P/S. -1 Set of Transformer (3 x 500 MVA ICT -I) along-with 765kV bays 704,705,706,704T,401T & 402 at 765/400 KV Angul P/S. -1 Set of Transformer (3 x 500 MVA ICT -IV) along-with 765kV bays 707,708,709,713,714,715,713T,419T, 419 & 420 at 765/400 KV Angul P/S. -1 Set of Bus Reactor (3 x 110 MVAR,BR-I) along-with 765kV bays 712 &712R at 765/400 KV Angul P/S. -1 Set of Bus Reactor (3 x 110 MVAR,BR-II) along-with 765kV bays 715R at 765/400 KV Angul P/S. -1 Set of Line Reactor-I (3 x 80 MVAR, in Line -II) at 765/400 kV Angul P/S. under Transmission System associated with phase-I, Generation Projects in Odisha, Part-A, Eastern Region | 2015-04-01
34 | PGCIL | Deemed Licensee | (1) 765 kV S/C Lucknow-Bareilly Transmission Line (earlier charged at 400 kV Level under Contingency Scheme) at rated voltage level alongwith associated bays including 3x80 MVAR 765 kV Switchable Line Reactor at Lucknow end and line reactor at Bareilly end. (2) 2 nd circuit of 400 kV D/C Bareilly-Bareilly Transmission Line with associated bays. (3) 765/400 kV 1500 MVA ICT Bank-I alongwith associated bays. under NRSS-XXI. | 2015-04-01
35 | PGCIL | Deemed Licensee | 400 kV 125 MVAR Bus Reactor alongwith its bays at 400/220 kV Shahjahanpur Substation under Northern Region Transmission System Strengthening Scheme (NRTSS) | 2015-04-01
36 | PGCIL | Deemed Licensee | New 400kV GIS at Nagapattinam under Common Transmission Scheme associated with ISGS Projects in Nagapattinam/Cuddalore Area of Tamil Nadu Part-A1(a) | 2015-04-01
37 | PGCIL | Deemed Licensee | Wardha-Aurangabad 765 kV second D/C line alongwith 2 No. 3 x 110 MVAR Switchable Line Reactors at Wardha end and 1 No. 3 x 80 MVAR Line Reactors at Aurangabad end and associated bays under System Strengthening in Wardha-Aurangabad Corridor for IPP Generation Projects in Chhattisgarh (IPP-G). | 2015-04-01
38 | PGCIL | Deemed Licensee | 765 kV, 3*80 MVAR Bus Reactor at Bina Substation with associated Bays under Transmission System for Phase-1 Generation projects in Orissa (Part-C). | 2015-04-01
39 | PGCIL | Deemed Licensee | 400kV Transmission Line for swaping of Kahalgaon # 1 bay with Sasaram # 1 bay at Biharsharif Substation under Split Bus arrangement for various substations in Eastern Region | 2015-04-02
40 | PGCIL | Deemed Licensee | LILO of 400kV S/C Dehar - Panipat at Panchkula under Northern Region System Strengthening Scheme-XXVII | 2015-04-02
41 | PGCIL | Deemed Licensee | 1. 765/400 kV Vindhyachal Pooling Station (New) including 3x500 MVA ICT#2 2. 765kV S/C Vindhyachal Pooling station - Satna Ckt#1 Transmission line and associated bays at Vindhyachal Pooling Station alongwith 3x80 MVAR Switchable line reactor. (Line Reactor at Satna Substation already commissioned as Bus Reactor w.e.f 13/11/2014 under interim contingency, is now restored as line reactor. 3. 765 kV S/C Sasan - Vindhyachal Pooling Station Transmission line alongwith associated bays at Vindhyachal Pooling Station and at Sasan Reliance. 4. Associated line bays at Vindhyachal pooling station for one ckt. of 400 kV D/C Sasan-Vindhyachal Pooling Station Transmission line (TL portion commissioned earlier w.e.f. 01/01/2013 under interim contingency). Under Transmission System of Vindhyachal -IV (1000MW) & Rihand-III (1000MW) Generation Projects | 2015-04-02
42 | PGCIL | Deemed Licensee | Solapur(NTPC)-Solapur(PG) 400 kV D/C (Quad) line alongwith associated bays at Solapur(PG) under Transmission system for Solapur STPP (x660MW) under Transmission System for Solarput STPP(2x660MW) | 2015-04-03
43 | PGCIL | Deemed Licensee | 1 No. 3 x 80 MVAR 765 kV Wardha-Aurangabad Line Reactor of Circuit 4 at Aurangabad end under System Strengthening in Wardha-Aurangabad Corridor for IPP Generation Projects in Chhattisgarh (IPP-G). | 2015-04-19
44 | PGCIL | Deemed Licensee | -2 nos OPGW links under Central Sector, 2 nos. OPGW links under WBSETCL, 1 nos OPGW link under DVC associated with Fibre Optic Communication System in lieu of existing ULDC Microwave links in Eastern Region. -3 nos. OPGW links under Central Sector associated with Expansion of wideband communication network in Eastern Region. -1 No of 50 MVA, 132/66 KV 3-PH ICT at Gangtok S/S. under Establishment of Fibre Optic Communication System in lieu of replacement of existing Microwave links in ER; Expansion of wideband communication network in ER; Provision of spare ICTs and Reactors of Eastern, Northern, Southern, Western Region. | 2015-04-20
45 | PGCIL | Deemed Licensee | 1st circuit of 400 kV D/C Bareilly (POWERGRID-765 kV)- Kashipur (PTCUL) Transmission Line and associated bays under NRSS-XXI | 2015-04-23
46 | PGCIL | Deemed Licensee | 2nd circuit of 400 kV D/C Bareilly (POWERGRID-765 kV)- Kashipur (PTCUL) Transmission Line and associated bays under NRSS-XXI | 2015-04-24
47 | PGCIL | Deemed Licensee | Associated bays of 1st Circuit of 400 KV D/C Barielly(765 kV) - Barielly (400kV) Transmission Line under NRSS XXI | 2015-04-25
48 | PGCIL | Deemed Licensee | 1 Set of 765/400kV, 3X500 MVA Transformer(ICT-II) at Angul Pooling Station and associated bays (707T,407T,407 & 408) under Transmission System associated with Phase-I, Generation Project in Odisha Part-A, in Eastern Region | 2015-05-04
49 | PGCIL | Deemed Licensee | 765 kV, 240 MVAR Bus Reactor -I at 765 kV Jabalpur Pooling Substation with associated bays under Transmission System for Phase-1 Generation projects in Orissa (Part-B). | 2015-05-06
50 | PGCIL | Deemed Licensee | 765 kV S/C Meerut-Moga Line alongwith associated bays, 765kV, 240 (3x80) MVAR Line Reactors at both ends under Transmission System associated with NRSS-XXVI | 2015-05-12
51 | PGCIL | Deemed Licensee | 220kV D/C Rangpo-New Melli Line and associated bays at Rangpo and New Melli along-with one no 220kV Bus Coupler Bay each at Rangpo and New Melli under Transmisison system for transfer of Power from generation projects in Sikkim to NR/WR(Part B). | 2015-05-21
52 | PGCIL | Deemed Licensee | 765kV S/C Raigarh (Kotra) PS - Champa PS Transmission Line along with associated bays at Raigarh (Kotra) end under Establishment of Pooling stations at Champa & Raigarh (near Tamnar) for IPP Generation Projects in Chattisgarh. | 2015-05-31
53 | PGCIL | Deemed Licensee | 1. 765kV Line bays of Champa PS - Raipur PS (Durg) Line. 2. 765kV Line bays of Champa PS - Raigarh PS (Kotra) Line. Under Establishment of Pooling station at Champa & Raigarh (near Tamnar) for IPP Projects in Chattisgarh. | 2015-05-31
54 | PGCIL | Deemed Licensee | Fiber Optic communication links of TSTRANSCO & KSEBL sectors along with associated Communication Equipment under the project "Fibre Optic Communication System in lieu of existing ULDC Microwave links in Southern Region." | 2015-06-01
55 | PGCIL | Deemed Licensee | 400 kV D/C Barh–II TPS–Gorakhpur line along with associated bays at Gorakhpur under Immediate evacuation System associated with Barh-II TPS | 2015-06-07
56 | PGCIL | Deemed Licensee | 1. 765/400kV, 1500MVA ICT #I at GIS Vadodara. 2. 765kV bays at GIS Vadodara for 765kV S/C Vadodara-Indore Transmission Line alongwith 240MVAR line reactor at Vadodara.(Vadodara-Indore Tranmsmission line along with associated bays at Indore was already charged on 05.05.2014 at 400 kV level bypassing GIS Vadodara. The line is now upgraded to 765 kVlevel). 3. 400 kV bays at GIS Vadodara for 400 kV Vadodara - Pirana ckt #2 (400 kV D/C Vadodara-Pirana T/L was already charged on 01.01.2014, for direct interconnection with 400 kV D/C Vadodara - Asoj T/L bypassing Vadodara Pooling S/S under Interim contingency scheme). under IPP projects in MP & Chhattisgarh in Western Region. | 2015-06-08
57 | PGCIL | Deemed Licensee | 400 kV bays at GIS Vadodara for 400kV Vadodara-Asoj Ckt#1 (400 kV D/C Vadodara -Asoj (GETCO) Transmission line was already charged on 01.04.2014, for direct interconnection with 400 kV D/C Vadodara-Pirana Tr. Line bypassing Vadodara Pooling SS under inter contingency scheme) under Transmission System associated with Systen Strengthening in North/West part of WR for IPP Projects in Chhattisgarh. | 2015-06-08
58 | PGCIL | Deemed Licensee | 160 MVA 220/132kV transformer II at Purnea Substation along-with associated bays under Augmentation of Transformation Capacity in Northern and Eastern Region | 2015-06-11
59 | PGCIL | Deemed Licensee | 3x500MVA, 765kV/400kV Auto Transformer-I under Establishment of Pooling stations at Champa & Raigarh (near Tamnar) for IPP Projects in Chattisgarh. | 2015-06-13
60 | PGCIL | Deemed Licensee | 765 KV line bay & 240 MVR line ractor at 765 KV Vadodara Pooling Substation (For 765 kV S/C Vadodara -Dhule line of M/s Bhopal -Dhule Transmission Co. Limited) under LINE BAYS AND REACTOR PROVISION AT POWERGRID SUB-STATIONS ASSOCIATED WITH SYSTEM STRENGTHENING FOR WESTERN REGION. | 2015-06-14
61 | PGCIL | Deemed Licensee | 765/400 kV 1500 MVA ICT #2 at GIS Vadodara under IPP Projects in MP & Chhattisgarh in Western Region | 2015-06-22
62 | PGCIL | Deemed Licensee | 765 kV, 240 MVAR Bus Reactor #2 at Satna Substation under Transmission system of Vindhyachal -IV(1000MW) & Rihand-III(1000MW) Generation Projects | 25-06-2015
63 | PGCIL | Deemed Licensee | Bay no. 205 (Feeder-Chaksu-I) under NRTSS System | 2015-06-26
64 | PGCIL | Deemed Licensee | 02 Nos. 220kV Line Bays at Moga substation under Augmentation of Transformers in NR-Part-A | 2015-06-28
65 | PGCIL | Deemed Licensee | 400 kV bays at GIS Vadodara for 400 kV Vadodara - Pirana ckt 1 (400 kV D/C Vadodara-Pirana T/L was already charged on 01.04.2014, for direct interconnection with 400 kV D/C Vadodara - Asoj transmission line bypassing Vadodara Pooling S/S under interim contingency shceme) under IPP Projects in MP & Chhattisgarh in WR. | 2015-06-29
66 | PGCIL | Deemed Licensee | 400 kV bays at GIS Vadodara for 400kV Vadodara-Asoj Ckt#2 (400 kV D/C Vadodara -Asoj (GETCO) Transmission line was already charged on 01.04.2014, for direct interconnection with 400 kV D/C Vadodara-Pirana Tr. Line bypassing Vadodara Pooling SS under interim contingency scheme) under Transmission System associated with Systen Strengthening in North/West part of WR for IPP Projects in Chhattisgarh. | 2015-06-29
67 | PGCIL | Deemed Licensee | LILO of 400kV D/C Moga-Bhiwadi line alongwith associated bays at Hisar under Transmission system associated with NRSS XXV. | 2015-07-02
68 | PGCIL | Deemed Licensee | 765/400kV 1500 MVA ICT#1(with 1 spare unit of 500 MVA) at 765/400 kV Vindhyachal pooling station under Transmission System of Vindhyachal -IV (1000MW) & Rihand - III (1000MW) Generation Projects. | 2015-07-04
69 | PGCIL | Deemed Licensee | 765 KV, 3x80 MVAR Bus Reactor alongwith associated bay at Barielly S/S under NRSS XXI | 2015-07-05
70 | PGCIL | Deemed Licensee | Replacement of 315 MVA 400/220kV ICT I with 500 MVA 400/220 kV ICT at Purnea Substation under Eastern Region Strengthening Scheme (ERSS XII) | 2015-07-13
71 | PGCIL | Deemed Licensee | 400 KV, Double Circuit Silchar-Purba Kanchanbari Transmission Line (charged at 132 kV) along with associated bays at Sichar (new) & Purba Kanchanbari (TSECL) Substation of Transmission System associated with Pallatana GBPP and Bongaigaon TPS | 2015-08-01
72 | PGCIL | Deemed Licensee | (i) 220kV, D/C Mariani (New) – Mokokchung (POWERGRID) Transmission Line along with associated bays at Mariani and Mokokchung (POWERGRID) Substations & (ii)132kV, D/C Mokokchung (POWERGRID) - Mokokchung (Nagaland) Transmission Line along with associated bays, 3 X 10 MVA, 220/132 kV ICT- II and 220kV & 132kV GIS bays at Mokokchung (POWERGRID) S/S under Transmission System associated with Pallatana GBPP and Bongaigaon TPS in NER. | 2015-08-01
73 | PGCIL | Deemed Licensee | 1 no 125 MVAR Bus Reactor at Indravati Substation along-with 400kV Bay No 410 under transmission system ERSS-VIII in Eastern Region | 2015-08-03
74 | PGCIL | Deemed Licensee | - 400KV Vijayawada (Nunna PG) - Nellore (APTRANSCO) Ckt-III along with 1x63MVAR Line Reactor - 400KV Vijayawada (VTPS) - Nellore (APTRANSCO) along with 1x63MVAR Line Reactor under Transmission system associated with System Strengthening-XVIII in Southern Regional Grid. | 2015-08-08
75 | PGCIL | Deemed Licensee | 765 kV, 03X80 MVAR Bus Reactor at 765/400 KV Jaipur (Phagi-RVPNL) S/Stn under Transmission System for Phase I generation project in Orissa (Part-C). | 2015-08-09
76 | PGCIL | Deemed Licensee | 765 kV S/C Vindhyachal pooling station - Satna ckt#2 Transmission line and associated bays at Vindhyachal pooling station along with 240 MVAr switchable line reactor(with one spare unit of 80 MVAr). (240 MVAr Line Reactor at Satna substation already commissioned as Bus reactor w.e.f. 14/01/2015 under interim contingency, is now restored as line reactor). | 2015-08-11
77 | PGCIL | Deemed Licensee | 765 kV S/C Gwalior-Jaipur Ckt #2 Transmission Line alongwith 240 MVAR Switchable Line Reactor and associated bays at Jaipur Sub-Station. (240 MVAR Line Reactor at Gwalior Sub-station already commissioned as Bus Reactor w.e.f 24.11.2025 under interim contingency, is now restored as line reactor. | 2015-08-13
78 | PGCIL | Deemed Licensee | 765 kV S/C Gwalior-Jaipur Ckt #2 Transmission Line alongwith 240 MVAR Switchable Line Reactor (with one spare reactor unit of 80MVAR) and associated bays at Jaipur Sub-Station. (240 MVAR Line Reactor at Gwalior Sub-station already commissioned as Bus Reactor w.e.f 01.03.2014 under interim contingency, is now restored as line reactor. | 2015-08-14
79 | PGCIL | Deemed Licensee | LILO of one Ckt of 400kV D/C Baripada-Mendhasal Transmission line at Dubri alongwith associated bays at Dubri under Eastern Region Strengthening Scheme-III | 2015-08-19
80 | PGCIL | Deemed Licensee | 765KV Jaipur (Phagi- RVPNL)- Bhiwani TL along with 3X80 MVAR Switchable Line Reactor at Jaipur (Phagi- RVPNL) end and 3X80 MVAR non switchable reactor at Bhiwani end and its associated bays under Transmission System for Phase I generation project in Orissa (Part-C). | 2015-08-24
81 | PGCIL | Deemed Licensee | 765 kV, 240 MVAr Bus Reactor along with associated bays at Vindhyachal pooling Sub-station under Transmission System of Vindhyachal -IV (1000MW) & Rihand - III (1000MW) Generation Projects. | 24-08-2015
82 | PGCIL | Deemed Licensee | 765/400 kV 1500 MVA ICT-2 alongwith associated bays at 765/400 kV Bareilly Substation (New) at Bareilly (New) Sub-station under NRSS-XXI. | 2015-08-31
83 | PGCIL | Deemed Licensee | • 400 kV bay (1 No.) at Vindhyachal pooling station for 400 kV D/C Vindhyachal IV -Vindhyachal pooling station Ckt#2 T/L ( 400 kV D/C Vindhyachal IV -Vindhyachal pooling station Ckt#2 TL already commissioned w.e.f. 01.01.2013 is now directly connected with Vindhyachal pooling station). • 400 kV bay (1 No.) at Vindhyachal pooling station for Vindhyachal pooling station-Sasan Ckt#2 T/L (400 kV D/C Vindhyachal pooling station- Sasan Ckt#2 TL already commissioned w.e.f. 01.01.2013 is now directly connected with Vindhyachal pooling station) under Transmission system of Vindhyachal -IV(1000MW) & Rihand-III(1000MW) Generation Projects | 31-08-2015
84 | PGCIL | Deemed Licensee | 3 X 10 MVA, 220/132 kV ICT- I alongwith associated bays at Mokokchung (POWERGRID) Substation of Transmission System associated with Pallatana GBPP and Bongaigaon TPS in NER. | 2015-09-01
85 | PGCIL | Deemed Licensee | 765 kV Line Bay and 765 kV, 1x330 MVAR Switchable line Reactor of Jabalpur-3 circuit at Dharamjaygarh substation alongwith associated bays under line bays and reactor provisions at POWERGRID Sub-stations associated with System Strengthening Common for Western Region and Northern Region. | 2015-09-14
86 | PGCIL | Deemed Licensee | 765 KV Line bay and 240 MVAR Line Reactor at 765/400kV Jabalpur Pooling S/S for 765 kV D/C Dharamjaygarh- Jabalpur (IPTC) ckt#3 under line bays and reactor provision at POWERGRID Sub-stations associated with System Strengthening Common for Western Region and Northern Region | 2015-09-14
87 | PGCIL | Deemed Licensee | 765 kV Line Bay and 765 kV, 1x330 MVAR Switchable line Reactor of Jabalpur-4 circuit at Dharamjaygarh substation alongwith associated bays under line bays and reactor provisions at POWERGRID Sub-stations associated with System Strengthening Common for Western Region and Northern Region. | 2015-09-15
88 | PGCIL | Deemed Licensee | 765 KV Line bay and 240 MVAR Line Reactor at 765/400kV Jabalpur Pooling S/S for 765 kV D/C Dharamjaygarh- Jabalpur (IPTC) ckt#4 under line bays and reactor provision at POWERGRID Sub-stations associated with System Strengthening Common for Western Region and Northern Region | 2015-09-15
89 | PGCIL | Deemed Licensee | 1. 400kV Pirana-Dehgam link, 2. 400kV Bina(PG)-Bina(MPPTCL) link 3. 400 kV Damoh-Bhopal link 4. 400 kV Vadodara Pooling -Asoj link 5. 400 kV Indore-Indore (MPPTCL) link 6. 400 kV Shujalpur-Bina(PG) link 7. 400 kV Pirana-Vadodara Pooling link 8. 400 kV Gandhar-Navsari (PG) link 9. 400 kV Nagda (MPPTCL) -Indore (MPPTCL) link 10. 400 kV Jabalpur Pooling-Jabalpur 400 link 11. 400kV Shujalpur-Nagda link 12. 400 kV Khandwa-Rajgarh link 13. 400 kV SSP-Rajgarh link 14. 400 kV SSP-Asoj link under Establishment of Fibre Optic Communication System under Master Communication Plan in Western Region | 2015-09-22
90 | PGCIL | Deemed Licensee | 400/220KV 500 MVA ICT-II alongwith associated bays at 400/220 KV Shahjahanpur Sub-Station under NRTSS | 2014-09-26
91 | PGCIL | Deemed Licensee | LILO of 2nd circuit of Neyveli-Trichy 400kV D/C Line at Nagapattinam Pooling Station alongwith associated bays and Equipments under Contingency Plan for evacuation of Power from IL&FS (2x600MW) | 2015-09-29
92 | PGCIL | Deemed Licensee | 400 KV Balipara (POWERGRID) - Biswanath Chariali (POWERGRID) #4 line along with associated bays at ±800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern-Northern/Western Region Interconnector-I Project. | 2015-10-01
93 | PGCIL | Deemed Licensee | 132 kV Biswanath Chariali (POWERGRID) - Biswanath Chariali (AEGCL) line #1 alongwith associated bays at ± 800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-01
94 | PGCIL | Deemed Licensee | 132 kV Biswanath Chariali (POWERGRID) - Biswanath Chariali (AEGCL) line #2 alongwith associated bays at ± 800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-01
95 | PGCIL | Deemed Licensee | 400/132/33 KV, 200MVA ICT#2 along with associated bays at Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern Region-Northern/Western Interconnector-I Project | 2015-10-01
96 | PGCIL | Deemed Licensee | 765 kV, 240 MVAR Bus Reactor with one spare unit of 80 MVAR alongwith associated bays at GIS Vadodara under IPP Projects in MP & Chhattisgarh. | 2015-10-01
97 | PGCIL | Deemed Licensee | 1 No. 400 kV, 80 MVAR Bus Reactor-1 alongwith associated bays at ±800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern Region-Northern/Western Region Interconnector-I Project | 2015-10-03
98 | PGCIL | Deemed Licensee | 765kV D/C(Hexa) Aurangabad - Solapur Transmission Line with associated bays and 6x80 MVAR Switchable Line Reactors at Solapur end under Inter-Regional System Strengthening Scheme for WR & NR (Part-A) | 2015-10-07
99 | PGCIL | Deemed Licensee | 400 KV Balipara (POWERGRID) - Biswanath Chariali (POWERGRID) #3 line along with associated bays at ±800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of Transmission System associated with North East/Eastern-Northern/Western Region Interconnector-I Project. | 2015-10-12
100 | PGCIL | Deemed Licensee | Split Bus Arrangement at Durgapur Substation under Split bus arrangement at various substations in ER | 2015-10-14
101 | PGCIL | Deemed Licensee | 765kV D/C Rihand-Vindhyachal Transmission line ckt-2 and associated bay at Vindhyachal PS (Charged at 400 kV) under R-3 V4 system | 2015-10-15
102 | PGCIL | Deemed Licensee | Mysore-Kozhikode 400 kV D/C Line along with new 400/220 kV Substation with 2x315 MVA ICT’s and 2x50 MVAR switchable line reactors at Kozhikode & associated bay equipment at Mysore substation under Kaiga 3&4 (2x235MW) Project | 2015-10-16
103 | PGCIL | Deemed Licensee | 765 kV D/C Dharamjaygarh-Jabalpur PS T/L ckt-1&2 alongwith 6x110 MVAR Switchable Line Reactors with associated bays at Dharamjaygarh S/S and line bays at bothends. (6*80 MVAR Line Reactors at Jabalpur pooling substation already commissioned as Bus Reactor under interim contingency, are now restored as line reactors) under Transmission System for Phase-I Generation Projects in Orissa-Part B. | 2015-10-17
104 | PGCIL | Deemed Licensee | 400 kV bay (1 No.) at Vindhyachal pooling station for 400 kV D/C Vindhyachal IV -Vindhyachal pooling station Ckt#1 T/L ( 400 kV D/C Vindhyachal IV -Vindhyachal pooling station Ckt#1 TL already commissioned w.e.f. 01.01.2013 is now directly connected with Vindhyachal pooling station) under Transmission System of Vindhyachal -IV (1000MW) & Rihand - III (1000MW) Generation Projects. | 21-10-2015
105 | PGCIL | Deemed Licensee | Loop In of 400 KV Ranganadi-Balipara II at Biswanath Chariali (PG) (400 kV Ranganadi- Biswanath Chariali II - LILO portion) alongwith associated bays at Biswanath Chariali associated with North East/ Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-27
106 | PGCIL | Deemed Licensee | Loop Out of 400 KV Ranganadi-Balipara II at Biswanath Chariali (PG) (400 kV Biswanath Chariali - Balipara II - LILO portion) alongwith associated bays at Biswanath Chariali associated with North East/ Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-27
107 | PGCIL | Deemed Licensee | Loop In of 400 KV Ranganadi-Balipara I at Biswanath Chariali (PG) (400 kV Ranganadi - Biswanath Chariali I - LILO portion) alongwith associated bays at Biswanath Chariali associated with North East/ Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-28
108 | PGCIL | Deemed Licensee | Loop Out of 400 KV Ranganadi-Balipara I at Biswanath Chariali (PG) (400 kV Biswanath Chariali - Balipara I - LILO portion) alongwith associated bays at Biswanath Chariali associated with North East/ Eastern Region-Northern/Western Region Interconnector-I Project. | 2015-10-28
109 | PGCIL | Deemed Licensee | ±800 kV HVDC Biswanath CharialiAgra Pole-I (1500 MW HVDC terminals at Biswanath Chariali and Agra each along with ±800 kV Hexa Lapwing transmission line) associated with NorthEast/Eastern Region-Northern/Western Region Interconnector-I | 2015-11-01
110 | PGCIL | Deemed Licensee | LILO of 2nd Circuit of Jamshedpur - Rourkela 400kV D/C Trans Line at Chaibasa (routed through Chaibasa but presently not bussed at Chaibasa) under Eastern Region System strengthening III (ERSS III) | 2015-11-02
111 | PGCIL | Deemed Licensee | 400 kV D/C Bhiwani-Hisar Line along with associated bays at Bhiwani and Hisar substations under Transmission system associated with NRSS XXV. | 2015-11-02
112 | PGCIL | Deemed Licensee | 500 MVA 400/220 KV ICT-III along with associated bays at Solapur S/s under Transmission System for Solapur STPP (2x660 MW) | 2015-11-02
113 | PGCIL | Deemed Licensee | 400 kV bay (1 No.) at Vindhyachal pooling station for Ckt#1 of 765 kV D/C Rihand-III -Vindhyachal pooling station T/L (initially to be charged at 400 kV level). (Ckt#1 of 765 kV D/C Rihand-III-Vindhyachal pooling station T/L already commissioned w.e.f. 06.07.2014 bypassing Vindhyachal pooling Station). *The bay has been charged but could not be connected to the Ckt#1 in line with the decisions taken in 116th NR OCC for 765 kV D/C Rihand-Vindhyachal Ckt#2 T/L. under Transmission system of Vindhyachal -IV(1000MW) & Rihand-III(1000MW) Generation Projects. | 2015-11-06
114 | PGCIL | Deemed Licensee | Strengthening of Neyveli TS-II - TS-I Exp link with higher capacity conductor under Contingency Plan for evacuation of Power from IL & FS (2 X 600MW) | 2015-11-09
115 | PGCIL | Deemed Licensee | 50 MVAR Bus Reactor 2 & 3 at 400/220 KV Bassi Substation under NRTSS | 2015-11-11
116 | PGCIL | Deemed Licensee | 400 kV GIS Kolhapur S/s alongwith 125 MVAR Bus Reactor and associated bays & LILO of 400 kV D/C Kolhapur-Mapusa Transmission line at Kolhapur GIS under Transmission System Strengthening in Southern Region -XVII | 2015-11-12
117 | PGCIL | Deemed Licensee | One Circuit of Narendra (New, Kudgi) – Kolhapur (New) 765 kV D/C TL (initially charged at 400kV ) along with new 765/400 kV GIS SS at Narendra (New, Kudgi) and extension of Kolhapur (New) Sub-station under System Strengthening -XVII in Southern Regional Grid | 2015-11-19
118 | PGCIL | Deemed Licensee | 80 MVAR Bus Reactor along-with associated bay at Chaibasa S/S under Eastern Region System strengthening III (ERSS III) | 2015-11-26
119 | PGCIL | Deemed Licensee | 765 kV, 3x80 MVAR Bus Reactor-II at Jhatikara Substation under Transmission System for Phase-I Generation Projects in Jharkhand & West Bengal (Part-B) | 2015-11-28
120 | PGCIL | Deemed Licensee | - Gooty – Madhugiri 400KV D/C Line - Extension of 400/220KV Substation at Gooty for Gooty - Madhugiri 400KV D/C Line. - 400/220KV Substation at Madhugiri (Tumkur) with 2x500MVA Transformers and 1x63MVAR Bus reactor along with associated bay & Equipments for Gooty- Madhugiri 400KV D/C Line under Transmission System associated with System Strengthening-XIII in Southern Regional Grid | 2015-12-01
121 | PGCIL | Deemed Licensee | One no 125 MVAR Bus Reactor at Jeypore Substation alongwith 400 kV bay no 409 under Transmission Syatem ERSS-VIII in Eastern Region | 2015-12-02
122 | PGCIL | Deemed Licensee | a) 400 kV D/C Kurukshetra-Jalandhar line, one circuit via Nakodar alongwith associated bays at Kurukshetra, Nakodar(PSTCL)& Jalandhar and with 50MVAR line Reactors at Nakodar & Jalandhar ends. b) LILO of both circuits of 400 kV D/C Abdullapur-Sonepat line at Kurukshetra alongwith bays at Kurukshetra. c) 125MVAR Bus Reactor at Kurukshetra alongwith bay at Kurukshetra under Transmission System associated with WR-NR HVDC lnterconnector for IPP Projects in Chhattisgarh. | 2015-12-03
123 | PGCIL | Deemed Licensee | 400/220/33 kV, 315 MVA ICT alongwith associated bays at 400 kV Agra Substation (POWERGRID) of Transmission system associated with North East/Eastern Region Northern/Western Region Interconnector-I Project | 2015-12-10
124 | PGCIL | Deemed Licensee | Second Circuit of Narendra(New, Kudgi)- Kolhapur (New) 765kV D/C TL (Initially charged at 400 kV) along with associated bays and equipments at Narendra (New, Kudgi) substation and Kolhapur (New) Substation under System Strengthening - XVII in Southern Regional Grid. | 2015-12-11
125 | PGCIL | Deemed Licensee | 4 Nos. 400 KV Line bays at Narendra (New,Kudigi) for Kudigi TPS -Narendra (New Kudigi ) 400 KV 2XD/C Quad lines under Sub Station Extension works associated with transmission system required for evacuation of power from Kudigi TPS (3 X 800MW in Phase –I ) of NTPC Limited in Southern Regional Grid. | 2015-12-11
126 | PGCIL | Deemed Licensee | Narendra (New, Kudgi) – Narendra (Existing) 400 kV D/C Quad TL along with associated bays and equipments at Narendra (New, Kudgi) Sub-station and Narendra (Existing) Sub-station under System Strengthening - XVII in Southern Regional Grid. | 2015-12-11
127 | PGCIL | Deemed Licensee | - Kurnool (New) – Raichur 765KV S/C Line - Extension of 765/400KV Substation at Kurnool (New) i) 1 number 765KV line bay for Kurnool (New) – Raichur 765KV S/C Line - Extension of 765/400KV Substation at Raichur i) 1 number 765KV line bay for Kurnool (New) – Raichur 765KV S/C Line under Transmission System associated with System Strengthening-XXII in Southern Regional Grid. | 2015-12-15
128 | PGCIL | Deemed Licensee | 400/132/33 kV, 200 MVA ICT #1 alongwith associated bays at ± 800 kV Biswanath Chariali HVDC Converter Station (POWERGRID) of transmission system associated with North East/Eastern Region-Northern/Western Region Interconnector-I Project | 2015-12-19
129 | PGCIL | Deemed Licensee | 400kV D/C (Quad) Kashipur(PTCUL)- Roorkee (Powergrid) TL Ckt.-I and II alongwith associated bays under NRSS XXI | 2015-12-25
130 | PGCIL | Deemed Licensee | 765 kV S/C Ranchi (New) - Dharamjaygarh line alongwith 3x110MVAR Reactor at Dharamjaygarh alongwith associated bays under Transmission System for Phase I Generation Projects in Jharkhand and West Bengal Part A2. | 2015-12-26
131 | PGCIL | Deemed Licensee | Expansion & upgradation of existing SCADA/EMS system at SLDC’s of Northern Region (ESEM) | 2015-12-31
132 | Parbati Koldam Transmission Company Limited | ISTS Licensee | PKTCL portion of 400 kV Parbati-III (NHPC) - Parbati-II (NHPC) line. (Power flow started as Banala-Parbati-III by passing Parbati-II at gantry tower) | 2015-11-03
133 | Parbati Koldam Transmission Company Limited | ISTS Licensee | PKTCL portion of 400 kV Banala (PG) - Parbati-II (NHPC) line. (Power flow started as Banala-Parbati-III by passing Parbati-II at gantry tower) | 2015-11-03
134 | Jabalpur Transmission Company Limited (JTCL) | ISTS Licensee | 765 kV D/C Jabalpur-Dharamjaigarh Transmission Line | 2015-09-14
135 | Jabalpur Transmission Company Limited (JTCL) | ISTS Licensee | 765 kV S/C Jabalpur-Bina Transmission Line | 2015-07-01
136 | Bhopal Dhule Transmission Company Limited (BDTCL) | ISTS Licensee | 765 S/C Jabalpur-Bhopal Transmission Line | 2015-06-09
137 | Bhopal Dhule Transmission Company Limited (BDTCL) | ISTS Licensee | 765 kV S/C Dhule-Vadodara Transmission Line | 2015-06-14
138 | North East Transmission Company Ltd. (NETCL) | ISTS Licensee | Azara-Bongaigaon (one circuit of D/C) section of 400 kV D/C Palatana-Bongaigaon Transmission System. | 2015-01-16
139 | North East Transmission Company Ltd. (NETCL) | ISTS Licensee | Byrnihat-Bongaigaon (one circuit of D/C) section of 400 kV D/C Palatana-Bongaigaon Transmission System. | 2015-02-22