## DOCO 01.01.2016 to 30.09.2016
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office, “Saudamini” Plot No.-2
Sector-29, Near IFFCO Chowk, Gurgaon-122001,Haryana
Details of ISTS commissioned and under commercial operation (DOCO) during 01.01.2016 to 30.09.2016
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | DOCO/ Deemed COD
1 | POWERGRID | Deemed Licensee | Replacement of existing 100 MVA, 220/132kV ICT with 1x160 MVA, 220/132kV ICT at 220/132 kV Birpara sub-station along with necessary bay equipment/ protection system at Birpara sub-station under Eastern Region Strengthening Scheme-XII. | 2016-01-01
2 | POWERGRID | Deemed Licensee | 160 MVA, 220/132 kV ICT along with associated bays of Ara 220/132 kV Sub-station under ERSS-9. | 2016-01-02
3 | POWERGRID | Deemed Licensee | 3x80 MVAR Switchable Line Reactor of 765 kV S/C Gaya-Varanasi line used as Bus Reactor along-with associated bays at Gaya Substation under Transmission System for Phase I Generation Projects in Jharkhand and West Bengal Part A2. | 2016-01-02
4 | POWERGRID | Deemed Licensee | 2nos 400kV Bays each at Khammam (existing) Substation and Nagarjunasagar for terminating Khammam-Nagarjuanasagar 400kV D/C line being implemented under Tariff Based Competiting Bidding under Sub-Station Works Associated with System Strengthening in Southern Region for Import of Power from Eastern Region. | 2016-01-04
5 | POWERGRID | Deemed Licensee | 500 MVA, 400/220 kV ICT along with associated bays at Muzaffarpur 400/220 kV Sub-station under ERSS-9. | 2016-01-06
6 | POWERGRID | Deemed Licensee | Split Bus Arrangement at Maithon Sub-station under Split Bus Arrangement for various sub-stations in ER. | 2016-01-17
7 | POWERGRID | Deemed Licensee | 1 set of 765/400 kV, 3x500 MVA Transformer (ICT-III) at Angul Pooling station and associated bays (710T, 710, 711, 413T, 413 & 414) under Transmission System for phase-I Generation projects in Orissa-Part-A in ER. | 2016-01-25
8 | POWERGRID | Deemed Licensee | 765kV S/C Angul -Jharsuguda (Sundargarh) line -I alongwith 765 kV bays i.e 709L & 709 R at Angul Pooling station and 710, 711 and 712 at Sundergarh Pooling station, alongwith 1 no. of 3x80 MVAR Line Reactor at Sundergarh Pooling station and 1 no. of 3x80 MVAR Line Reactor at Angul Pooling station and associated bays under Transmission System for phase-I Generation projects in Orissa-Part-A in Eastern Region. | 2016-01-27
9 | POWERGRID | Deemed Licensee | 1 no 31.5 MVAR Bus Reactor (1st) and associated bay at 220 kV New Meli GIS S/s under Transmisison system for transfer of Power from generation projects in Sikkim to NR/WR(Part B). | 2016-01-31
10 | POWERGRID | Deemed Licensee | Replacement of existing 100 MVA, 220/132kV ICT with 1x160 MVA, 220/132kV ICT at 220/132 kV Siliguri sub-station along with necessary bay eqpt/protection system at Siliguri sub-station under Eastern Region Strengthening Scheme-XII. | 2016-02-02
11 | POWERGRID | Deemed Licensee | 1 no of 400 kV bay along with 50 MVAR Line Reactor for Circuit-1 of 400 kV RAPP-Shujalpur Transmission Line (IPTC line) under Provision of 400 kV bays at Shujalpur for Part ATS of RAPP 7&8. | 2016-02-04
12 | POWERGRID | Deemed Licensee | 400 kV, 50 MVAR Line Reactor-I & II in already energised bays of 400 kV D/C Patna-Balia line at Balia S/s under ERSS VIII. | 2016-02-11
13 | POWERGRID | Deemed Licensee | 400 kV FSC in Balia-I & II bays at Sohawal S/s of 400 kV D/C Balia Sohawal line under NRTSS | 2016-02-12
14 | POWERGRID | Deemed Licensee | 50 MVA, 132/33 kV, 3-Ph ICT-1 at Nirjuli Sub-station (POWERGRID) of Project-North Eastern Region Strengthening Scheme-II (NERSS-II) Part-A. | 2016-02-14
15 | POWERGRID | Deemed Licensee | 400kV, 80 MVAR Bus Reactor -2 along with associated Bays at ±800 kV Biswanath Chariali HVDC Converter station (POWERGRID) under Transmission associated with North East-Northern/Western Interconnector-I Project. | 2016-02-26
16 | POWERGRID | Deemed Licensee | 1 no of 400 kV bay along with 50 MVAR Line Reactor for Circuit-2 of 400 kV RAPP-Shujalpur Transmission Line (IPTC line) under Provision of 400 kV bays at Shujalpur for Part ATS of RAPP 7&8. | 2016-02-28
17 | POWERGRID | Deemed Licensee | Replacement of existing 3rd 100 MVA, 220/132 kV ICT with 1x160 MVA, 220/132 kV ICT at Purnea S/s under ERSS XII. | 2016-02-29
18 | POWERGRID | Deemed Licensee | 02 nos 220kV line bays at 400/220kV Chaibasa S/s under ERSS III. | 2016-03-03
19 | POWERGRID | Deemed Licensee | 1 no. of 400 kV 125 MVAR Bus Reactor at Bina S/s under Installation of Bus Reactor and ICT in Western Region. | 2016-03-16
20 | POWERGRID | Deemed Licensee | (i) 400 kV, 125 MV AR Bus reactor I with associated bays at Kishanganj(GIS) Substation, (ii) 400/220kV, 500 MVA ICT II with associated bays at Kisanganj(GIS) S/s under Transmission System for Transfer of Power from Generation Projects in Sikkim to NR/WR Part-A in Eastern Region. | 2016-03-18
21 | POWERGRID | Deemed Licensee | (i) LILO-I of Siliguri-Purnea 400kV D/C line at new Pooling station Kishanganj and associated bays at Kishanganj. (ii) LILO-II of Siliguri-Purnea 400kV D/C line at new Pooling station Kishanganj and associated bays at Kishanganj. (iii) LILO-I of Siliguri-Dalkhola 220kV D/C line at new Pooling station Kishanganj and associated bays at Kishanganj. (iv) LILO-II of Siliguri-Dalkhola 220kV D/C line at new Pooling station Kishanganj and associated bays at Kishanganj. under Transmission system for transfer of power from generation projects in Sikkim to NR/WR (Part-A). | 2016-03-18
22 | POWERGRID | Deemed Licensee | 400 kV Anta bay at Kota S/s for 400 kV S/C Anta-Kota line (Line owned by RVPNL) under NRSS XXVII. | 2016-03-19
23 | POWERGRID | Deemed Licensee | 1 no 31.5 MVAR Bus Reactor (2nd) and associated bay at 220 kV New Melli GIS S/s under Transmisison system for transfer of Power from generation projects in Sikkim to NR/WR(Part B). | 2016-03-21
24 | POWERGRID | Deemed Licensee | 1 no. of 400 kV 63 MVAR Bus Reactor at Vindhyachal PS under Vindhyachal-IV (1000MW) and Rihand-III (1000 MW) Generation Projects | 2016-03-21
25 | POWERGRID | Deemed Licensee | (i) NCC Generation switchyard-Nellore Pooling station 400 kV (Quad) D/C Line, (ii) 2 No.s 400 kV line bays at Nellore pooling station for termination of NCC Generation switchyard-Nellore Pooling station 400 kV (Quad) D/C line under Transmission System for Connectivity for NCC Power projects Ltd (1320 MW). | 2016-03-22
26 | POWERGRID | Deemed Licensee | (i) 1500 MVA 765/400 kV auto transformer-2 along with associated bays at Champa PS (ii) 765 kV, 3x80 MVAr Bus Reactor along with associated bays at Champa PS under IPP Generation Projects in Chattisgarh. | 2016-03-26
27 | POWERGRID | Deemed Licensee | 400 kV, 80 MVAr Bus Reactor with associated bays at Champa PS under Establishment of Pooling Stations at Champa nad Raigarh (Near Tamnar) for IPP Generation projects in Chhattisgarh. | 2016-03-27
28 | POWERGRID | Deemed Licensee | 400 KV D/C (Quad) Kishanganj - Patna T/L along-with associated bays at Kishanganj (GIS) Sub-station including 2 no of 80 MVAR switchable Line Reactor at Kishanganj (GIS) S/s under Transmission System for transfer of Power from Generation Projects in Sikkim to NR/WR Part-B in ER. | 2016-03-28
29 | POWERGRID | Deemed Licensee | (i) Augmentation of Transformation capacity at 400/220 kV Mandola S/s by installing 500 MVA ICT-I, (ii) Augmentation of Transformation capacity at 400/220 kV Ballabhgarh S/s by installing 500 MVA ICT-I under NRSS XXXII. | 2016-03-28
30 | POWERGRID | Deemed Licensee | 50 MVA, 132/33 kV, 3-Ph ICT-2 at Nirjuli Sub-station (POWERGRID) of Project- North Eastern Region Strengthening Scheme-II (NERSS-II) Part-A. | 2016-03-29
31 | POWERGRID | Deemed Licensee | OPGW communication links along with associated Communication Equipment: 1. Kochi-Trichur 2. Kudankulam - Tirunelveli Link-II 3. Narendra-Kudgi 4. Kudgi-Kolhapur 5. Kolar-Hoody 6. Tirunelveli-Edamon 7. Neyveli TS-2- Bahour 8. Salem-Dharmapuri 9. Kochi - Brahmapuram (KSEB) 10. Thiruvarur-Kadalangudi (TANTRANSCO) 11. Sriperambadur -Pondy and EPABX systems (Hot Line Speech Communication Systems for Grid Operation): 1. SRLDC, Bangalore 2. Main SLDC, TANTRANSCO, Chennai 3. Main SLDC, KSEB, Kalamassery 4. Backup SLDC, KSEB, Trivandrum 5. SCC, PED, Puducherry 6. Main SLDC, APTRANSCO, Vijayawada 7. Main SLDC, TSTRANSCO, Hyderabad under “Fibre Optic Communication System for Central Sector Sub-Stations & Generating Stations in Southern Region” | 2016-03-31
32 | POWERGRID | Deemed Licensee | Main SCADA EMS system of SLDCs of Assam, Tripura and Meghalaya under Project-"Expansion/ Upgradation of SCADA/ EMS system of SLDCs of NER" | 2016-04-01
33 | POWERGRID | Deemed Licensee | (i) 765KV S/C Balia-Varanasi TL alongwith associated bays at both ends including 240 MVAR Line reactor at Varanasi GIS S/S (ii) 1500 MVA, 765/400 KV ICT-I & Associated bays at GIS Varanasi S/S (iii) 330MVAR, 765 KV Bus Reactor-II & bay at 765/400KV Varanasi GIS S/S under Transmission system associated with Generation Projects in Jharkhand & West Bengal ( Part – A2). | 2016-04-01
34 | POWERGRID | Deemed Licensee | (i) LOOP IN line of 765KV S/C Gaya-Fathepur TL and Gaya-I bay including 240 MVAR Line Reactor at Varanasi GIS S/Stn (ii) Extension of both Ckts of 400KV D/C (Quad) Biharsharif-Sasaram line to Varanasi bypassing Sasaram s/stn and associated bays including 50 MVAR Line Reactor in each Ckt at Varanasi GIS S/Stn under NRSS-XXVIII. | 2016-04-01
35 | POWERGRID | Deemed Licensee | LILO of one ckt. Of 400 KV D/C Sasaram (Presently Sarnath) - Allahabad line and associated bays at Varanasi GIS S/Stn under Transmission system associated with Generation Projects in Jharkhand & West Bengal ( Part – B). | 2016-04-01
36 | POWERGRID | Deemed Licensee | 400KV Main Bay along with 50 MVAR Bus Reactor 2 at Kota S/Stn (50 MVAR Line reactor shifted from Merta) under System Strengthening Scheme in NR. | 2016-04-01
37 | POWERGRID | Deemed Licensee | Various Links, totalling 2394.770 kms and PABX equipments under Fibre Optic Communication System in Northern Region | 2016-04-01
38 | POWERGRID | Deemed Licensee | Extension of Panchkula (400/220 kV, 500 MVA ICT along with associated bays) substation under Augmentation of Transfomers in NR Part-B. | 2016-04-01
39 | POWERGRID | Deemed Licensee | (i) Reconductoring of one ckt of Farakka - Malda 400kV D/C TL (ckt -I) with HTLS conductor and upgradation / replacement of associated bay equipment at Farakka & Malda (ii) Reconductoring of one ckt of Farakka - Malda 400kV D/C TL (ckt -II) with HTLS conductor and upgradation / replacement of associated bay equipment at Farakka & Malda under Eastern Region Strengthening Scheme-XIII. | 2016-04-02
40 | POWERGRID | Deemed Licensee | Essar Gujarat TPS- Bachau 400 kV D/C (Triple) line and extension of Bachau S/S under Transmission system for connectivity of Essar Power Gujarat Ltd. | 2016-04-02
41 | POWERGRID | Deemed Licensee | Replacement of existing 315 MVA, 400/220kV ICT I with 500 MVA, 400/220 kV ICT I at Pusauli Sub-station under ERSS-XII | 2016-04-03
42 | POWERGRID | Deemed Licensee | Replacement of existing 100 MVA, 220/132kV ICT I with 160 MVA, 220/132 kV ICT at Purnea Sub-station under Augmentation of Transformation Capacity and Reactive Compensation in Eastern Region. | 2016-04-03
43 | POWERGRID | Deemed Licensee | LILO of 400kV D/C Aurangabad-Pune TL alongwith bays at Pune GIS under Krishnapatnam UMPP - Part-B. | 2016-04-05
44 | POWERGRID | Deemed Licensee | 765 KV Fatehpur Bay of LILO of (Loop in Line) of 765 KV S/C Gaya-Fatehpur Line at Varanasi GIS Substation under NRSS-XXVIII. | 2016-04-10
45 | POWERGRID | Deemed Licensee | Augmentation of transformation capacity at 400/220 KV Mandola S/Stn. by installing 500MVA ICT-III at Mandola under NRSS-XXXII. | 2016-04-10
46 | POWERGRID | Deemed Licensee | 765kV S/C Gaya - Varanasi line along-with associated bays at Varanasi(GIS) Substation under Transmission System for Phase-I Generation Projects in Jharkhand & West Bangal Part-A2. | 2016-04-21
47 | POWERGRID | Deemed Licensee | • 1 No. 500 MVA, 400/220 KV Transformer at NP Kunta Pooling Station along with associated bays and equipment • LILO of 400 kV Kadapa(Cuddapah)-Kolar S/C line at NP Kunta Pooling Station • 2 nos. 220 kV line Bays at NP Kunta Pooling Station under Transmission system for Ultra Mega Solar Park in Anantapur Dist, Andhra Pradesh – Part- A (Phase-I). | 2016-04-28
48 | POWERGRID | Deemed Licensee | 400 kV D/C Patiala-Panchkula line alongwith associated bays at Patiala and Panchkula substations under NRSS-32. | 2016-05-01
49 | POWERGRID | Deemed Licensee | Lara (NTPC) – Raigarh (Kotra)(PG) 400kV D/C Line along with associated Bays at Raigarh(Kotra) under Transmission System associated with Lara STPS-I(2x800MW) Generation project of NTPC. | 2016-05-05
50 | POWERGRID | Deemed Licensee | (i) LILO of both ckt of 400KV (Quad) D/C Meerut – Kaithal line alongwith associated bays at 400/220 KV Bagpat GIS Substation (ii) 420 KV, 125 MVAR Bus Reactor at Bagpat GIS substation alongwith associated bay (iii) 500 MVA, 400/220 KV ICT-I at Bagpat GIS substation alongwith associated bays including 01 no. 220KV line bay under NRSS XIX. | 2016-05-08
51 | POWERGRID | Deemed Licensee | Augmentation of transformation capacity at 400/220 KV Mandola S/Stn. by installing 500MVA ICT-IV at Mandola under NRSS-XXXII. | 2016-05-08
52 | POWERGRID | Deemed Licensee | (i) 315 MVA , 400/ 220 KV ICT-I alongwith associated bays including 03 nos line bays at Saharanpur substation (ii) 315 MVA , 400/ 220 KV ICT-II alongwith associated bays including 03 nos line bays at Saharanpur substation (iii) 400 KV 50 MVAR Bus Reactor – I alongwith associated bays at Saharanpur substation (iv) 400 KV 50 MVAR Bus Reactor – II alongwith associated bays at Saharanpur substation under NRTSS. | 2016-05-09
53 | POWERGRID | Deemed Licensee | 1500 MVA 765/400 KV ICT-II at Varanasi GIS Substation alongwith associasted bays under Transmission system associated with Generation Projects in Jharkhand & West Bengal ( Part –A2). | 2016-05-14
54 | POWERGRID | Deemed Licensee | 315MVA, 400/220kV, 3-Ph ICT-II at Balipara Substation (POWERGRID) of Project – “North Eastern Region System Strengthening Scheme-II (NERSS-II) Part-A” | 2016-05-28
55 | POWERGRID | Deemed Licensee | LILO of 220KV Gladni - Hiranagar line at 400/220 kV Samba substation under NRSS-XXXIV. | 2016-06-04
56 | POWERGRID | Deemed Licensee | 400KV Roorkee – Saharanpur line ( Ckt-I and Ckt-II ) alongwith associated bays under NRSS XXI. | 2016-06-16
57 | POWERGRID | Deemed Licensee | 2nos of 400kV line bays along-with 1x63 MVAR (Fixed) line reactor at Chaibasa S/s under substation extension under Eastern Region Strengthening Scheme-VII. | 2016-06-19
58 | POWERGRID | Deemed Licensee | 1 x 500 MVA, 400/220/33kV ICT at Malekuttaiayur Substation along with associated bays and equipments under Transmission system associated with System strengthening-XX in Southern Regional Grid. | 2016-06-22
59 | POWERGRID | Deemed Licensee | LILO of 400kV Dehar (BBMB) - Bhiwani (BBMB) Line at Rajpura (PSTCL) alongwith associated bays at Rajpura under NRSS - XXVII. | 2016-06-27
60 | POWERGRID | Deemed Licensee | Extension of Jalandhar (400/220KV 500MVA ICT alongwith associated Bays) substation under Augmentation of Transformers in Northern Region‐Part B. | 2016-07-02
61 | POWERGRID | Deemed Licensee | 500 MVA, 400/220 KV ICT- II alongwith associated bays at Bagpat GIS S/s under NRSS XIX. | 2016-07-03
62 | POWERGRID | Deemed Licensee | • 2 Nos. 500 MVA, 400/220 KV Transformer at NP Kunta Pooling Station along with associated bays and equipment • 1 no. 125MVAR, 420KV Bus Reactor along with associated bays and equipment under Transmission system for Ultra Mega Solar Park in Anantapur Dist, Andhra Pradesh – Part- A (Phase-I). | 2016-07-11
63 | POWERGRID | Deemed Licensee | (i) 400 kV D/C Ranchi(New)–Chandwa-Gaya line along-with associated bays at Ranchi(New),Chandwa & Gaya substation (ii) 400kV,125 MVAR Bus Reactor I at Chandwa(GIS) substation and associated bay (iii) 400kV,125 MVAR Bus Reactor II at Chandwa(GIS) substation and associated bay under Transmission System for Phase-I Generation Projects in Jharkhand & West Bangal Part-A1. | 2016-07-12
64 | POWERGRID | Deemed Licensee | (i) 765KV D/C Varanasi-Kanpur (new) line and associated bays including 240MVAR Switchable L/R in both Ckt at Varanasi GIS S/Stn. and 330 MVAR non -switchable L/R in both Ckt at Kanpur GIS S/S (ii) 765 KV S/C Kanpur GIS -Jhatikala line and associated bays including 330 MVAR switchable L/R at Kanpur(new) GIS S/S and 330 MVAR non switchable L/R at Jhatikala S/S (iii) 400KV D/C (Quad) Kanpur (new) GIS -Kanpur (Old) line & associated bays (iv) 2X1500 MVA 765/400KV ICT-I and ICT-II alongwith associated bays at 765/400KV Kanpur (New) GIS S/S (v) 240MVAR 765 KV Bus Reactor I & Bus Rector II with associated bays at Kanpur (New ) GIS S/S under Transmission system for Phase-I Generation Projects in Jharkhand & West Bengal ( Part –B). | 2016-07-14
65 | POWERGRID | Deemed Licensee | 400kV Transmission Line for Swapping of Purnea(1&2) bays with Sasaram( bays (3&4) AT Biharsharif Substation under Split Bus arrangment for various substation in Eastern Region . | 2016-07-21
66 | POWERGRID | Deemed Licensee | One Ckt of 400KV D/C Sasaram-Allahabad Line (Presently Sarnath) shifted from NR to ER bus at 400KV Sasaram Sub Station under NRSS-XXVIII. | 2016-07-25
67 | POWERGRID | Deemed Licensee | (i) LILO of 400 kV D/C Baripada-Mendhasal line and associated bays at Pandiabilli GIS: (ii) 01 nos 500MVA, 3 phase 400/220 kV, T/F and associated bays at Pandiabilli GIS; (iii) 01 No 80 MVAR, 400 kV BR and associated bays at Pandiabilli GIS; (iv) 02 Nos 63 MVAR, 400 kV Switchable Line Reactor both shifted from Mendhasal (as fixed Line Reactor) with associated bays at Pandiabilli GIS and (v) 06 nos 220 kV line bays at Pandiabili GIS under Eastern Region Strengthening Scheme-III. | 2016-07-31
68 | POWERGRID | Deemed Licensee | Nellore - Nellore PS OPGW Communication link along with associated communication equipment under the project Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region. * Notified on 28.07.2016 | 01-04-2013*
69 | POWERGRID | Deemed Licensee | Raichur (New) - Raichur SS OPGW Communication link along with associated communication equipment under the project Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region. * Notified on 28.07.2016 | 01-01-2014*
70 | POWERGRID | Deemed Licensee | Nellore PS - TPCIL (Thermal Powertech Corporation of India Ltd.) OPGW Communication link along with associated communication equipment under the project Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region. * Notified on 28.07.2016 | 01-03-2014*
71 | POWERGRID | Deemed Licensee | Kurnool (New) - Kurnol SS OPGW Communication link along with associated communication equipment under the project Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region. * Notified on 28.07.2016 | 01-04-2014*
72 | POWERGRID | Deemed Licensee | 34 Nos. OPGW Communication links along with associated communication equipment under the project Establishment of Fibre Optic Communication System for Central sector stations Project of Southern Region. | 2016-08-01
73 | POWERGRID | Deemed Licensee | 1 x 125MVAR Bus Reactor at 400KV Nagapattinam GIS under “Common Transmission Scheme associated with ISGS Projects in Nagapattinam/ Cuddalore area of Tamil Nadu Part- A1 (a)” | 2016-08-01
74 | POWERGRID | Deemed Licensee | 2 No.s 400KV Line bays at Madhugiri (Tumkur) for Madhugiri (Tumkur) - Bidadi 400KV D/c (Quad) line under “Sub Station Extension works associated with transmission system required for evacuation of power from Kudigi TPS (3 X 800MW in Phase –I ) of NTPC Limited” | 2016-08-25
75 | POWERGRID | Deemed Licensee | Conversion of 50 MVAR line reactor presently installed at Jeerat end of Baharampur-Jeerat 400kV line as Bus Reactor in parallel with existing Bus Reactor at Jeerat S/S under Eastern Region Strengthening Scheme-XII. | 2016-08-29
76 | POWERGRID | Deemed Licensee | 2nos of 400kV line bays at Muzaffarpur sub-station for termination of Muzaffarpur(PG)-Darbhanga(TBCB) 400kV D/C (Triple Snowbird) line under Eastern Region Strengthening Scheme-VI. | 2016-08-31
77 | POWERGRID | Deemed Licensee | 1 x 500 MVA, 400/220/33kV ICT at Somanahalli Substation along with associated bays and equipments under transmission system associated with “System strengthening-XX in Southern Regional Grid” | 2016-08-31
78 | POWERGRID | Deemed Licensee | + 800kV HVDC Biswanath Chariali - Agra Pole-II (1500 MW HVDC Terminals at Biswanath Chariali and Agra) along with Earth Electrode Line and Earth Electrode Stations for both Biswanath Chariali and Agra associated with North East-Northern/ Western Interconnector-I. | 2016-09-02
79 | POWERGRID | Deemed Licensee | Two nos 220 KV Bays (202 and 203) at Bagpat Substation under NRSS-XIX | 2016-09-11
80 | POWERGRID | Deemed Licensee | Augmentation of transformer capacity at 400/220 KV Ballabhgarh substation by installing 500 MVA ICT-II under NRSS-XXXII. | 2016-09-16
81 | POWERGRID | Deemed Licensee | Replacement of 1 no. of 1x315 MVA, 400/220 kV ICT with 1x500 MVA, 400/220 kV ICT (1st) at 400 kV Maithan Sub-station under ERSS IX | 2016-09-18
82 | POWERGRID | Deemed Licensee | 1 x 500 MVA, 400/220/33kV ICT at Mysore Substation along with associated bays and equipments under transmission system associated with “System strengthening-XX in Southern Regional Grid” | 2016-09-23
83 | POWERGRID | Deemed Licensee | Replacement of existing 315 MVA, 400/220 kV ICT I with 500 MVA, 400/220 kV ICT I at Patna Sub-station under Eastern Region Strengthening Scheme-XII. | 2016-09-24
84 | POWERGRID | Deemed Licensee | 2 No.s 400KV Line bays at Narendra(New), 2 No.s 400KV Line bays at Madhugiri (Tumkur), 2X63MVAR (fixed) line reactors (with 600ohm NGRs) at Narendra (New) & 2X63MVAR (fixed) line reactors (with 600ohm NGRs) at Madhugiri (Tumkur) for Narendra (New)- Madhugiri (Tumkur) 765KV D/C line (initially charged at 400KV) under “Sub Station Extension works associated with transmission system required for evacuation of power from Kudigi TPS (3 X 800MW in Phase –I ) of NTPC Limited” | 2016-09-24
85 | POWERGRID | Deemed Licensee | Replacement of existing 315 MVA, 400/220 kV ICT II with 500 MVA, 400/220 kV ICT II at Purnea Sub-station under Eastern Region Strengthening Scheme-XII. | 2016-09-30
86 | RAPP Transmission Co. Ltd | ISTS Licensee | 400 kV D/C RAPP-Shujalpur Transmission Line under RAPP Transmission Company Limited. *As per CERC order dtd 21.09.2016 in Petition No. 43/MP/2016 | 01-03-2016*
87 | Purulia & Kharagpur Transmission Company Ltd | ISTS Licensee | 400 kV D/C Kharagpur-Chaibasa Transmission Line under Purulia & Kharagpur Transmission Company Ltd | 2016-05-13
88 | NRSS-XXIX Transmission Limited | ISTS Licensee | 400 kV D/C Jalandhar-Samba Transmission Line under NRSS-XXIX Transmission Limited. | 2016-04-07
89 | POWERGRID Vizag Tranmission Ltd | ISTS Licensee | Khammam (Existing) - Nagarjuna Sagar 400 kV D/C Transmission Line under Tranmission System for System Strengthening in Southern Region for Import of Power from Eastern Region. | 2016-01-04
90 | Kudgi Transmission Ltd | ISTS Licensee | 2 No.s of 400 kV D/C (Quad) Kudgi TPS - Narendra (New) Transmision line | 04-08-2015 (Deemed COD)
91 | Kudgi Transmission Ltd | ISTS Licensee | 765 kV D/C (Hex) Narendra (New) - Madhugiri Transmission line | 19-09-2016 (Deemed COD)
92 | Kudgi Transmission Ltd | ISTS Licensee | 400 kV D/C(Quad) Madhugiri - Bidadi Transmission line | 27-07-2016 (Deemed COD)