## doco 01.10.13 to 01.01.14
ANNEXURE-A
POWER GRID CORPORATION OF INDIA LIMITED
Corporate Commercial Department
Corporate Office,
“Saudamini” Plot No.-2
Gurgaon-122001,Haryana
Details of ISTS commissioned and under commercial operation (DOCO) during 02.09.13 to 01.04.14
Sl.No. | ISTS Licensee | Owner Category | Description of Assets | D.O.C.O
1 | ENICL | Private Licensee | Ckt-I of Purnea - Biharshariff 400 KV D/C TL | 13.09.13
2 | ENICL | Private Licensee | Ckt-II of Purnea - Biharshariff 400 KV D/C TL | 16.09.13
3 | PGCIL | Deeemed Licensee | Complete 400 KV D/C Jamshedpur - Baripada Line aongwith associated bays at both ends under Eastern Region Strengthening scheme- I | 01.10.13
4 | PGCIL | Deeemed Licensee | LILO of both circuits of 400 KV D/C Kishenpur - Wagoora T/L alongwith associated bays at New Wangpoh S/S under Transmission system associated with NRSS - XVI | 01.10.13
5 | PGCIL | Deeemed Licensee | 400/220 KV, 315 MVA ICT-I alongwith associated bays and 220 KV Line Bays at New Wangpoh S/S under Transmission system associated with NRSS - XVI | 01.10.13
6 | PGCIL | Deeemed Licensee | 400/220 KV,500 MVA ICT-II at Jind S/S alongwith associated bay and 220 KV Line Bays under Northern Regional Transmission Strengthening Scheme | 01.10.13
7 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor at Jind S/S alongwith associated bays under Northern Regional Transmission Strengthening Scheme | 01.10.13
8 | PGCIL | Deeemed Licensee | 400/220 KV,500 MVA ICT at Amritsar S/S alongwith associated Line bays under Augmentation of Transformation capacity in Northern and Eastern Region | 01.10.13
9 | PGCIL | Deeemed Licensee | 765/400 KV , 4x 500 MVA ICT- I at 765 /400 KV Indore(New) S/S along with associated bays under Regional System Strengthening for Sasan UMPP | 01.10.13
10 | PGCIL | Deeemed Licensee | Switchable Sheme for Reactor at Bina S/S under Western Region Strengthening Scheme - IX | 01.10.13
11 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor # 2 at Gwalior alongwith associated bays under Transmission System for Phase - I Generation Projects in Orissa Part - C | 01.10.13
12 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor at Indore alongwith associated bays under Transmission System for Phase - I Generation Projects in Orissa Part - C | 01.10.13
13 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor # 1 at Gwalior alongwith associated bays under Transmission System for Phase - I Generation Projects in Orissa Part - C | 01.10.13
14 | PGCIL | Deeemed Licensee | 1 no. 400 KV Tie bay of 400 KV Malda- Farakka Transmission Line at malda S/S associated with Eastern Region Strengthening scheme - IV | 01.11.13
15 | PGCIL | Deeemed Licensee | One No. 400 KV , 125 MVAR Reactor-I and associated bay at 765/400 KV Angul Pooling station under Transmission Asset associated with Phase-1 , Generation Project in Orissa | 01.11.13
16 | PGCIL | Deeemed Licensee | 400/220 KV 500 MVA Spare Transformer under Augmentation of Transformers in Northern Region - Part - A, which was envisaged for being located at Neemrana | 01.11.13
17 | PGCIL | Deeemed Licensee | 400/200 KV , 315 MVA ICT at Abdullapur S/S along with associated bays under Augmentation of Transformation capacity in Northern and Eastern Region | 01.11.13
18 | PGCIL | Deeemed Licensee | 400/200 KV , 315 MVA ICT at Nalagarh S/S along with associated bays under Augmentation of Transformation capacity in Northern and Eastern Region | 01.11.13
19 | PGCIL | Deeemed Licensee | 765 KV , 3 x 80 MVAR Bus Reactor #1 along with associated bays at 765/400 KV Indore S/S under Regional System Strengthening in WR for SASAN UMPP | 01.11.13
20 | PGCIL | Deeemed Licensee | 765/400 KV, 1500 MVA ICT-4 alongwith associated bays at Raigarh(Kotra) S/S under Transmission system associated with IPPs Generation in Chattisgarh( set-A) | 01.11.13
21 | PGCIL | Deeemed Licensee | 765 KV , 240 MVAR Shunt Reactor of Raipur- II Line Bay charged as a Bus Reactor at Raigarh(Kotra) S/S under Transmission system associated with IPPs Generation in Chattisgarh( set-A) | 01.11.13
22 | PGCIL | Deeemed Licensee | 765 KV D/C Kotra - Tanmar Transmission line along with associated bays at Raigrh(Kotra) and Raigarh(Tamnar) Substation under Transmission system associated with IPPs Generation in Chattisgarh( set-B) | 01.11.13
23 | PGCIL | Deeemed Licensee | First Bank of 765/400 KV , 1500 MVA inter connecting Transformer(ICT) at Raigarh Pooling station(Tamnar) under Transmission system associated with IPPs Generation in Chattisgarh( set-B) | 01.11.13
24 | PGCIL | Deeemed Licensee | 765 KV S/C Fatehpur- Agra Line under "Transmission system for SASAN UMPP in Northern region" | 01.11.13
25 | PGCIL | Deeemed Licensee | 400/220 KV , 1X 315 MVA ICT-III at Mapusa S/s under "Augmentation of Transformer & Bays in Western Region" | 01.11.13
26 | Torrent Power | Private Licensee | 400 KV DGEN Navsari - Ckt 1 alongwith associated bays at PGCIL Navsari and DGEN Generating station end | 01.11.13
27 | Torrent Power | Private Licensee | 400 KV DGEN Navsari - Ckt 2 alongwith associated bays at PGCIL Navsari and DGEN Generating station end | 01.11.13
28 | PGCIL | Deeemed Licensee | Second Bank of 765/400 KV , 1500 MVA Inter Connecting Transformer (ICT) AT Raigarh Pooling Station (Near Tamnar) Under Transmission System Associated With IPPs Generation in Chattisgarh (set-B) | 01.12.13
29 | PGCIL | Deeemed Licensee | 765 KV , 240MVAR Bus Reactor At Raigarh Pooling Station (Near Tamnar) Under Transmission System Associated With IPPs Generation in Chattisgarh (set-B) | 01.12.13
30 | PGCIL | Deeemed Licensee | 765/400KV , 1500 MVA Inter Connecting Transformer (ICT) At Raipur Pooling Station (Durg) Under Transmission System Associated With IPPs Generation in Chattisgarh (set-A) | 01.12.13
31 | PGCIL | Deeemed Licensee | 765 KV,240 MVAR bus reactor at Raipur pooling station (Durg) under transmission system associated with IPPs Generation in Chattisgarh (set-A) | 01.12.13
32 | WRTM | Private Licensee | 400 KV D/C Parli - Pune Transmission Line under WRSS - II, Project B | 01.12.13
33 | PGCIL | Deeemed Licensee | LILO of existing 400 KV Raichur- Gooty Quad D/C Line at Raichur(New) S/S along with the associated bays and equipment at Raichur(New) S/S under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.01.14
34 | PGCIL | Deeemed Licensee | 765 KV Raichur - Solapur S/C Line alongwith associated bays and equipment at both ends under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.01.14
35 | PGCIL | Deeemed Licensee | 1 No. 765/400 KV , 1500 MVA transformer at Raichur S/S along with associated bay and equipment under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.01.14
36 | PGCIL | Deeemed Licensee | 1 No. 765 KV 240 MVAR Switchable Line Reactor for 765 KV Raichur - Solapur Line t Raichur S/S alongwith associated bay and equipment under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.01.14
37 | PGCIL | Deeemed Licensee | 400 KV D/C Quad Bassi (PG) - Jaipur (RVPN) Trasmission Line along with associated bays at Bassi(PG) S/S under Transmission System for Vindhyanchal - IV and Rihand - III Generation Projects | 01.01.14
38 | PGCIL | Deeemed Licensee | 400 Kv D/C Quad Agra - Sikar Transmission Line along with associated bays at Agra S/S under system strengthening in Northern Region for Sasan and Mundra UMPP | 01.01.14
39 | PGCIL | Deeemed Licensee | 400/220 KV , 315 MVA ICT- I along with associated bays at GIS Hamirpur S/S under Northern Region System Strengthening Scheme - XX | 01.01.14
40 | PGCIL | Deeemed Licensee | 400 KV , 80 MVAR Bus Reactor along with associated bays at GIS Hamirpur S/S under Northern Region System Strengthening Scheme - XX | 01.01.14
41 | PGCIL | Deeemed Licensee | LILO of one ckt of 400 KV D/C Parbati - Amritsar T/L at Hamirpur alongwith associated bays and line reactor at GIS Hamirpur S/S under Northern Region System Strengthening Scheme - XX | 01.01.14
42 | PGCIL | Deeemed Licensee | Loop - out of 220 KV Jalandhar - Hamirpur Line at Hamirpur( To be used at LILO of 1st Ckt of 220 KV Hamirpur- Jalandhar T/L) under Strengthening scheme in Northern Region | 01.01.14
43 | PGCIL | Deeemed Licensee | 400 KV D/C Jabalpur - Jabalpur ( Pooling) Transmission Line along with associated bays at Both ends under Orissa part - B | 01.01.14
44 | PGCIL | Deeemed Licensee | 1 x 125 MVAR 420 KV Bus Reactor along with associated bays at 765/400 KV Jabalpur Pooling station under Orissa part - B | 01.01.14
45 | PGCIL | Deeemed Licensee | 765 KV , 3 x 500 MVA ICT-I along with associated bays at 765/400 KV Jabalpur pooling Substation under Orissa part - B | 01.01.14
46 | PGCIL | Deeemed Licensee | 765 KV , 3 x 80 MVAR Line Reactor of Satna - I as Bus Reactor at 765/400 KV Gwalior S/S alongwith associated bays under Transmission System for Vindhyanchal - IV and Rihand - III | 01.01.14
47 | PGCIL | Deeemed Licensee | 765 KV D/C Jabalpur- Bina Ckt-II with 3 x 80 MVAR Line Reactor at Bina end alongwith associated bays at Both ends under Orissa part - C | 01.01.14
48 | PGCIL | Deeemed Licensee | 765 KV D/C Jabalpur- Bina Ckt-I with 3 x 80 MVAR Line Reactor at Jabalpur end alongwith associated bays at Both ends under Orissa part - C | 01.01.14
49 | PGCIL | Deeemed Licensee | 765 KV , 3 X 80 MVAR Bus Reactor at 765/400 KV Bina S/S along with associated bays Under SASAN UMPP | 01.01.14
50 | PGCIL | Deeemed Licensee | 400 KV, 2x 50 MVAR Line Reactor as Bus Reactor along with associated bays at 765/400 KV Jabalpur Pooling station under Transmission System for connectivity of MB Power(MP) Ltd. | 01.01.14
51 | PGCIL | Deeemed Licensee | 2 NOS , 3 X 110 MVAR Switchable Line reactors (SLR) on 765 KV D/C Wardha - Aurangabad Line at Wardha S/S under Transmission System strengthening in Western Part of WR for IPP Generation Projects in Chattisgarh(IPP-D) | 01.01.14
52 | PGCIL | Deeemed Licensee | 765 KV , 1x 1500 MVA ICT-I at 765/400 KV Solapur S/S along with its associated bays under Krishnapatnam UMPP ( Part- B) | 01.01.14
53 | PGCIL | Deeemed Licensee | 765 KV , 1x 1500 MVA ICT-II at 765/400 KV Solapur S/S along with its associated bays under Krishnapatnam UMPP ( Part- B) | 01.01.14
54 | PGCIL | Deeemed Licensee | 765 KV, 240 MVAR Bus Reactor at 765/400 KV Solapur S/S alongwith associated bays under Krishnapatnam UMPP ( Part- B) | 01.01.14
55 | PGCIL | Deeemed Licensee | 765 KV Line bays with 240 MVAR Switchable Line reactor for 765 KV S/C Raichur- Solapur Transmission Line - I at 765/400 KV Solapur S/S under Krishnapatnam UMPP ( Part- B) | 01.01.14
56 | PGCIL | Deeemed Licensee | 765 KV , 240 MVAR Switchable Line Reactor for 765 KV S/C Raichur- Solapur Line - II ( Pvt Line) used as Bus Reactor at 765/400 KV Solapur S/S under " Line bays and Reactor at POWERGRID S/S for Raichur - Solapur T/L for Synchronous interconnection between SR and WR" | 01.01.14 | Private Licensee
57 | WRTM | Private Licensee | 400 KV D/C Pune- Aurangabad Transmision Line under WRSS -II , Project B | 01.01.14
58 | PGCIL | Deeemed Licensee | 765 KV D/C Raigarh(Kotra) - Raipur(Durg) Transmission Line along with associated bays at Raigarh(Kotra) and associated bays / reactors at Raipur( Durg) substation under Transmission system associated with IPPs Generation in Chattisgarh ( Set - A) | 01.02.2014 | PGCIL
59 | PGCIL | Deeemed Licensee | 400 KV Ranchi - Ranchi( New) Ckt - I alongwith associated bays at both ends under DVC & Maithon RB Common Scheme | 01.02.2014 | WRTM
60 | PGCIL | Deeemed Licensee | 400 KV 125 MVAR Bus Reactor - I along with associated bay at 765 KV Ranchi Substation under DVC & Maithon RB Common Scheme | 01.02.2014
61 | PGCIL | Deeemed Licensee | 400 KV 125 MVAR Bus Reactor - II along with associated bay at 765 KV Ranchi Substation under DVC & Maithon RB Common Scheme | 01.02.2014
62 | PGCIL | Deeemed Licensee | 765/400 KV 3x 500 MVA ICT- II at 765 KV Ranchi substation alongwith associated bays under DVC & Maithon RB Common Scheme | 01.02.2014
63 | PGCIL | Deeemed Licensee | 765 KV 3x80 MVAR Bus Reactor - II alongwith associated bay at 765 KV Ranchi Substation under DVC & Maithon RB Common Scheme | 01.02.2014
64 | PGCIL | Deeemed Licensee | 2 nos 400 KV bays at Durgapur Substation associated with ERSS- I | 01.02.2014
65 | PGCIL | Deeemed Licensee | 2X 63 MVAR 400 kv Line Reactors on 400 KV Barh - Ballia D/C Line at Ballia Substation under NRSS - XXIV | 01.02.2014
66 | PGCIL | Deeemed Licensee | 765 KV S/C Meerut - Bhiwani Transmission Line alongwith associated bays at both end plus 765 KV , 240 MVAR Line Reactor at Bhiwani S/S under 765 KV System for central part of Northern Grid - Part- III | 01.02.2014
67 | PGCIL | Deeemed Licensee | 1 No. 765/400 KV, 1500 MVA Transformer at Nellore Pooling Station along with associated bays and equipment under Transmission System associated with ISGS Krishnapatnam | 01.02.2014
68 | PGCIL | Deeemed Licensee | 1 No. 765 KV, 240 MVAR Reactor at Nellore Pooling Station along with associated bay and equipment under Transmission System associated with ISGS Krishnapatnam | 01.02.2014
69 | PGCIL | Deeemed Licensee | 2nd 765/400 KV , 1500 MVA Transformer at Raichur substation alongwith associated bay and equipment under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.02.2014
70 | PGCIL | Deeemed Licensee | 1 No. 765 KV, 240 MVAR Bus Reactor at Raichur Substation along with associated bay and equipment under Transmission System associated with Krishnapatnam UMPP - Part - B | 01.02.2014
71 | PGCIL | Deeemed Licensee | 1 No. 765kV, 240 MVAR Switchable Line Reactor at Raichur SS along with associated Bay and equipment under Transmission System associated with Synchronous Inter connection between SR-WR | 01.02.2014
72 | PGCIL | Deeemed Licensee | LILO of Bangalore - Salem 400 KV S/C Line at Hosur along with associated bays at Hosur under System Strengthening - XVIII in Southern Region Grid | 01.02.2014
73 | PGCIL | Deeemed Licensee | LILO of 400 KV Akola - Aurangabad Transmission Ckt- II at New POWERGRID Aurangabad substation under Transmission system associated with Mundra UMPP(Part- B) | 01.02.2014
74 | PGCIL | Deeemed Licensee | 400 KV, 1x315 MVA ICT- I at 400/220 KV Aurangabad S/S alongwith its associated bays under Transmission system associated with Mundra UMPP(Part- B) | 01.02.2014
75 | PGCIL | Deeemed Licensee | 400 KV, 1x315 MVA ICT- II at 400/220 KV Aurangabad S/S alongwith its associated bays under Transmission system associated with Mundra UMPP(Part- B) | 01.02.2014
76 | PGCIL | Deeemed Licensee | 400 KV, 80 MVAR Line Reactor for Wardha - Aurangabad Ckt-I used as bus reactor at 400/220 KV Aurangabad S/S alongwith its associated bays under Transmission system associated with Mundra UMPP(Part- B) | 01.02.2014
77 | PGCIL | Deeemed Licensee | 400 KV, 80 MVAR Line Reactor for Wardha - Aurangabad Ckt-II used as bus reactor at 400/220 KV Aurangabad S/S alongwith its associated bays under Transmission system associated with Mundra UMPP(Part- B) | 01.02.2014
78 | PGCIL | Deeemed Licensee | 3x80 MVAR Bus Reactor at 765/400 KV Gwalior S/S along with associated bays under Regional Transmission system associated with SASAN | 01.02.2014
79 | PGCIL | Deeemed Licensee | 3x 80 MVAR Line Reactor of 765 KV S/C Bina- Gwalior Ckt #3 at 765/400 KV Gwalior S/S alongwith associated bays as Bus Reactor under Transmission System for Phase- I Generation Projects in Orissa - Part- C | 01.02.2014
80 | PGCIL | Deeemed Licensee | 3x80 MVAR Switchable Line Reactor of 765 KV S/C Jabalpur - Bina Ckt # 1 at 765/400 KV Bina S/S under Transmission System for Phase- I Generation Projects in Orissa - Part- C | 01.02.2014
81 | PGCIL | Deeemed Licensee | 4x80 MVAR Switchable Line Reactor of 765 KV S/C Jabalpur - Bina Ckt # 2 at 765/400 KV Jabalpur Pooling S/S under Transmission System for Phase- I Generation Projects in Orissa - Part- C | 01.02.2014
82 | PGCIL | Deeemed Licensee | 765/400 KV , 1500 MVA Inter Connecting Transformer (ICT) Bank - 3 along with associated bays at Raigarh Pooling Station(Kotra) under Transmission System associated with IPPs Generation in Chattisgarh ( Set - A) | 01.03.2014
83 | PGCIL | Deeemed Licensee | Third Bank of 765/400 KV , 1500 MVA Inter Connecting Transformer(ICT) along with associated bays at Raigarh Pooling Station ( Near Tanmar) under Transmission System associated with IPPs Generation in Chattisgarh ( Set - B) | 01.03.2014
84 | PGCIL | Deeemed Licensee | 400/220 KV, 500 MVA ICT-II alongwith associated bays at Moga S/s under Augmentation of Transformation Capacity in Northern Region - Part A | 01.03.2014
85 | PGCIL | Deeemed Licensee | Loop - In of Naptha Jhakri - Nalagarh T/L at Rampur alongwith PLCC Equipment for Rampur - Naptha Jhakri 400 KV D/C line at Rampur ( To be used as LILO of Ist Ckt of Naptha Jhakri - Nalagarh T/L at Rampur) under Transmission System Associated with Rampur HEP. | 01.03.2014
86 | PGCIL | Deeemed Licensee | 400/220 KV , 315 MVA ICT at Kishenpur S/s along with associated bays under Augmentation of Transformation Capacity in Northern & Eastern Region | 01.03.2014
87 | PGCIL | Deeemed Licensee | 1 No. 765/400 KV, 1500 MVA 2nd Transformer Bank at Nellore Pooling Station along with associated bays and equipment under Transmission System associated with ISGS Krishnapatnam | 01.03.2014
88 | PGCIL | Deeemed Licensee | 1 No. 765 KV, 240 MVAR Bus Reactor at Nellore Pooling Station along with associated bay and equipment under Transmission System associated with ISGS Krishnapatnam | 01.03.2014
89 | PGCIL | Deeemed Licensee | 1 x 315 MVA , 400/220 KV Transformer and associated bays at Hosur Substation under System Strengthening in Southern Region - XIV | 01.03.2014
90 | PGCIL | Deeemed Licensee | 765 KV , 3x 80 MVAR Bus Reactor at 765/400 KV Aurangabad S/S along with associated bays under Transmission system Strengthening in Western Part of WR for IPPs Generation Projects in Chattisgarh - IPP- D | 01.03.2014
91 | PGCIL | Deeemed Licensee | 765/400 KV , 3x 500 MVA ICT - II at 765/400 KV Aurangabad S/S along with associated bays under Transmission system Strengthening in Western Part of WR for IPPs Generation Projects in Chattisgarh - IPP- D | 01.03.2014
92 | PGCIL | Deeemed Licensee | 765 KV, 3x 80 MVAR Line Reactor for 765 KV D/C Wardha - Aurangabad Line-1 Ckt-I at 765/400 KV Aurangabad s/S to be used as Bus Reactor under Transmission System strengthening in Western Part of WR for IPPs Generation Projects in Chattisgarh IPP-D | 01.03.2014
93 | PGCIL | Deeemed Licensee | 765 KV, 3 x 80 MVAR Switchable Line Reactor along with associated bays for 765 KV S/C Sholapur - Pune Line at 765/400 KV Sholapur S/S to be used as Bus Reactor under Krishnapatnam - UMPP | 01.03.2014
94 | PGCIL | Deeemed Licensee | 765 KV 3x110 MVAR Line Reactor for 765 KV D/C Raipur - wardha Line - I Ckt - II at 765/400 KV Wardha S/S to be used as Bus Reactor under integration of Pooling stations in Chattisgarh with Central part of WR for IPP Generation Projects in Chattisgarh - IPP- C | 01.03.2014
95 | PGCIL | Deeemed Licensee | 765 KV S/C Satna - Gwalior Ckt-I Transmission Line under Transmission System of Vindhyanchal - IV and Rihand - III Generation Projects | 01.03.2014
96 | PGCIL | Deeemed Licensee | 3 x 80 MVAR Line Reactor at 765/400 KV Satna S/S along with associated bays for 765 KV S/C Satna - Gwalior Ckt - I Transmission Line under Transmission System of Vindhyanchal - IV and Rihand - III Generation Projects | 01.03.2014
97 | PGCIL | Deeemed Licensee | 765 KV Line bay along with 3x 80 MVAR Line Reactor at 765/400 KV Gwalior S/S for 765 KV S/C Satna - Gwalior Ckt - I Transmission Line. Thease Line Reactors were commissioned as bus reactor on 31-12-2013. With the commissioning of 765 KV Satna - Gwalior Ckt-I, these reactors are now commissioned as per original plan as line reactor for 765 KV Satna - Gwalior line Ckt -I. | 01.03.2014
98 | PGCIL | Deeemed Licensee | 765 KV , 3x 80 MVAR Bus Reactor - I at 765 KV Jabalpur Pooling S/S under Transmission system for Phase- I Generation Projects in Orissa (Part- B) | 01.03.2014
99 | PGCIL | Deeemed Licensee | 3x 80 MVAR Line Reactor of 765 KV Gwalior - Jaipur Ckt # 1 at 765 KV Gwalior S/S as Bus Reactor under Transmission System of Vindhyanchal - IV and Rihand - III Generation Projects | 01.03.2014
100 | PGCIL | Deeemed Licensee | 3x 80 MVAR Line Reactor of 765 KV S/C Bina - Gwalior Ckt #3 TL at 765 KV Bina S/S as Bus Reactor under Transmission system for Phase- I Generation Projects in Orissa (Part- C) | 01.03.2014
101 | PGCIL | Deeemed Licensee | WR Pooling Station - LILO Point at Dharamjaygarh/ Near Korba (WR) portion of 765 KV S/c Ranchi - Sipat Line under Common Scheme for 765 KV Pooling stations & Network for NR and Common Scheme for Network for WR from ER & from NER/SR/WR via ER | 01.04.2014
102 | PGCIL | Deeemed Licensee | LILO Point at Dharamjaygarh/ Near Korba (WR) - Ranchi portion of 765 KV S/c Ranchi - Sipat Line along with 3x 80 MVAR Switchable line Shunt Reactor and associated bays at Ranchi S/S under Common Scheme for 765 KV Pooling stations & Network for NR and Common Scheme for Network for WR from ER & from NER/SR/WR via ER | 01.04.2014
103 | PGCIL | Deeemed Licensee | Loop In Portion of LILO of 765 KV S/C Ranchi - Sipat PS Line at Dharamjaygarh / Near Korba (WR) Substation under Transmission System for Phase - I Generation Projects in Orissa (Part- B) | 01.04.2014
104 | PGCIL | Deeemed Licensee | Loop Out Portion of LILO of 765 KV S/C Ranchi - Sipat PS Line at Dharamjaygarh / Near Korba (WR) Substation under Transmission System for Phase - I Generation Projects in Orissa (Part- B) | 01.04.2014
105 | PGCIL | Deeemed Licensee | First bank of 765 KV, 330 MVAR Bus Reactor along with associated bays at Dharamjaygarh/Near Korba (WR) Substation under Transmission System for Phase - I Generation Projects in Orissa (Part- B) | 01.04.2014
106 | PGCIL | Deeemed Licensee | 400 KV Ranchi- Ranchi(New) Ckt-II along with associated bays at both ends under DVC and Maithon RB Common scheme | 01.04.2014
107 | PGCIL | Deeemed Licensee | 400 KV D/C Ranchi- Ranchi( New) Ckt- III & IV along with associated bays at both ends under DVC and Maithon RB Common scheme | 01.04.2014
108 | PGCIL | Deeemed Licensee | 765/400 KV 3x500 MVA ICT- I at 765 KV Ranchi S/S along with associated bays under DVC and Maithon RB Common scheme | 01.04.2014
109 | PGCIL | Deeemed Licensee | LILO of Ckt - I of 400 KV D/C Kahalgaon - Biharsharif at Lakhisarai along with associated bays under ERSS III | 01.04.2014
110 | PGCIL | Deeemed Licensee | 400 /132 KV 200 MVA ICT - I at Lakhisarai S/S along with associated bays under ERSS III | 01.04.2014
111 | PGCIL | Deeemed Licensee | 400 KV 80 MVAR Bus Reactor along with associated bays at Lakhisarai S/S under ERSS III | 01.04.2014
112 | PGCIL | Deeemed Licensee | 132 KV Line bay for 132 KV Lakhisarai (PG) - Lakhisarai(BSPHCL) at 400/132 KV Lakhisarai S/S under ERSS III | 01.04.2014
113 | PGCIL | Deeemed Licensee | Re- conductering of Ckt- I of 400 KV D/C Siliguri- Purnea Line (HTLS Cond.) Transmission Line associated with ERSS - I | 01.04.2014
114 | PGCIL | Deeemed Licensee | LILO OF 400 kv Talchar - Merammundali Line at angul under Orissa Part- A | 01.04.2014
115 | PGCIL | Deeemed Licensee | 400 KV 80 MVAR Bus Reactor at Dubri Substation of OPTCL under ERSS - III | 01.04.2014
116 | PGCIL | Deeemed Licensee | 400/220 KV 315 MVA ICT - I at 400/220 KV Kotputli S/S alongwith associated bays , 400/220 KV 315 MVA ICT- II at 400/220 KV Kotputli S/S alongwith associated bays and LILO of 400 KV S/C Bassi Bhiwadi TL at Kotputli S/S alongwith associated bays under NRSS - XV | 01.04.2014
117 | PGCIL | Deeemed Licensee | 765 KV S/C Bareilly - Lucknow Transmission Line under NRSS - XXI | 01.04.2014
118 | PGCIL | Deeemed Licensee | One Circuit of 400 KV D/C Bareilly(New) - Bareilly(Existing) Transmission Line under NRSS - XXI | 01.04.2014
119 | PGCIL | Deeemed Licensee | 2x50 MVAR Bus Reactor at 400/220 KV Bareilly Substation alongwith associated bays(Existing Line reactors retained and used as Bus Reactor) under NRTSS | 01.04.2014
120 | PGCIL | Deeemed Licensee | 400 /220 kv ,315 MVA ICT- II alongwith associated bays at GIS Hamirpur S/S under Northern Region System Strengthening Scheme - XX | 01.04.2014
121 | PGCIL | Deeemed Licensee | 400/220 KV , 500 MVA ICT alongwith associated bays at Ludhiana S/S under Augmentation of Transformer in Northern Region - Part- A | 01.04.2014
122 | PGCIL | Deeemed Licensee | LILO of 1st Ckt of 400 KV D/C Parbati-II - Koldam Transmission Line at Banala under Transmission system associated with Parbati - III HEP | 01.04.2014
123 | PGCIL | Deeemed Licensee | LILO Of 400 KV N'Sagar - Gooty S/C Line at Kurnool(New) Substation alongwith associated bays and equipments under Transmission System associated with Krishnapatnam UMPP- Part- C1 | 01.04.2014
124 | PGCIL | Deeemed Licensee | 400 KV Kurnool (New) - Kurnool(APTRANSCO) D/C Quad Line alongwith associated bays and equipments under Transmission System associated with Krishnapatnam UMPP- Part- C1 | 01.04.2014
125 | PGCIL | Deeemed Licensee | 2 x 1500 MVA Transformers at Kurnool Substation alongwith associated bays and equipments under Transmission System associated with Krishnapatnam UMPP- Part- C1 | 01.04.2014
126 | PGCIL | Deeemed Licensee | 1x240 MVAR Bus Reactor at Kurnool (New) station alongwith associated bays and equipments under Transmission System associated with Krishnapatnam UMPP- Part- C1 | 01.04.2014
127 | PGCIL | Deeemed Licensee | 01 No., 420 KV 3- Phase 80 MVAR spare reactor at Gajuwaka S/S | 01.04.2014
128 | PGCIL | Deeemed Licensee | LILO of Kolar – Sriperambudur 400KV S/C Line at Thiruvalam Substation along with the associated bays and equipment at Thiruvalam substation under Transmission System associated with System Strengthening of Southern Region–XIX | 01.04.2014
129 | PGCIL | Deeemed Licensee | Chittoor - Thiruvalam 400 KV D/C Quad Line and New 400 KV Thiruvalam S/S alongwith 1x63 MVAR Bus Reactor at Thiruvalam S/S and associated bays and equipment at Thiruvalam and Chittoor under Supplementary transmission system associated with Vallur TPS in Southern Region | 01.04.2014
130 | PGCIL | Deeemed Licensee | 765 KV , 3x 80 MVAR Switchable Line Reactor for 765 KV Seoni - Wardha Ckt - 2 at 765/400 KV Seoni S/S along with associated bays under Mundra Transmission system | 01.04.2014
131 | PGCIL | Deeemed Licensee | 765 KV , 3x 110 MVAR Line Reactor for 765 KV D/C Raipur - Wardha Line -1 Ckt - 1 at 765/400 KV Wardha S/S to be used as Bus Reactor under integation of Pooling stations in Chattisgarh with Central part of WR for IPP Generation Projects in Chattisgarh - IPP - C | 01.04.2014
132 | PGCIL | Deeemed Licensee | 400/220 KV GIS KALA S/S (New) in UT - DNH alongwith 315 MVA 400/220 KV ICT-I & ICT-II, 80 MVAR, 420 KV Bus Reactor along with Looped in portion of LILO Line of 400 KV D/C Vapi - Navi Mumbai line under establishment of 400/220 KV GIS at KALA in UT of DNH through 400 KV D/C Vapi- Navi Mumbai TL (Interim Contigency) | 01.04.2014
133 | PGCIL | Deeemed Licensee | M/c Portion of 400 KV D/C Vapi - Kudus line (under WRSS- V) from location AP18/0 to AP 38/0 under establishment of 400/220 KV GIS at KALA in UT of DNH through 400 KV D/C Vapi- Navi Mumbai TL (Interim Contigency) | 01.04.2014
134 | PGCIL | Deeemed Licensee | Portion of 400 KV D/C Navsari- Boisar line(under Regional system of MUNDRA UMPP) from Location AP38/0 to AP44/0 under establishment of 400/220 KV GIS at KALA in UT of DNH through 400 KV D/C Vapi- Navi Mumbai TL (Interim Contigency) | 01.04.2014
135 | PGCIL | Deeemed Licensee | M/c Portion of 400 KV D/C Navsari - Boisar Line (under regional system of MUNDRA UMPP) from location AP 44/0 to AP 45A/0 under establishment of 400/220 KV GIS at KALA in UT of DNH through 400 KV D/C Vapi- Navi Mumbai TL (Interim Contigency) | 01.04.2014
136 | PGCIL | Deeemed Licensee | 400 KV Vadodara - Asoj (GETCO) TL under Transmission System associated with System Strengthening in North/West part of WR for IPP Projects in Chattisgarh( for direct interconnection with 400 KV D/C Vadodara - Pirana TL) bypassing Vadodara Pooling SS under interim contingency scheme | 01.04.2014
137 | PGCIL | Deeemed Licensee | 400 KV D/C Pirana - Vadadara T/L under Transmission System associated with IPP Projects in MP and Chattisgarh (for direct interconnection with 400 KV Vadodara - Asoj TL) bypassing Vadodara Pooling SS under interim contigency scheme | 01.04.2014
138 | PGCIL | Deeemed Licensee | 765 KV , 3 x 80 MVAR Line Reactor of 765 KV S/C Vadodara - Indore TL as Bus Reactor at Indore Substation under Transmission system for IPP Generation Projects in MP & Chattisgarh | 01.04.2014
139 | PGCIL | Deeemed Licensee | 400 KV , 63 MVAR Bus Reactor at 765/400 KV Indore S/S under ATS for SASAN - Regional System for WR | 01.04.2014
140 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor at Khandwa S/S under installation of Reactors in Western region | 01.04.2014
141 | PGCIL | Deeemed Licensee | 400 KV, 125 MVAR Bus Reactor at Jabalpur S/S under installation of Reactors in Western region | 01.04.2014
142 | PGCIL | Deeemed Licensee | 765 KV, 4x500 MVA ICT-II at 765/400 KV Jabalpur Pooling Station under Transmission System for Phase - I Generation Projects in Orissa(Part - B) | 01.04.2014
143 | PGCIL | Deeemed Licensee | 765 KV , 3x80 MVAR Line Reactor of 765 KV D/C Dharmjaygarh - Jabalpur T/L at Jabalpur end as Bus Reactor under Transmission System for Phase - I Generation Projects in Orissa(Part - B) | 01.04.2014
1 | ENICL | Private Licensee | Ckt-I of Purnea - Biharshariff 400 KV D/C TL | 13.09.13
2 | ENICL | Private Licensee | Ckt-II of Purnea - Biharshariff 400 KV D/C TL | 16.09.13
3 | WRTM | Private Licensee | 400 KV D/C Parli - Pune Transmission Line under WRSS - II, Project B | 01.12.13
4 | WRTM | Private Licensee | 400 KV D/C Pune- Aurangabad Transmision Line under WRSS -II , Project B | 01.01.14